## Sheet1
Actual start | Actual Finish | Location | Order | Description | Description | Main WorkCtr | Total act.costs | Bas. start date | Basic fin. date | System status | TotalPlnndCosts | Reference Date | Actual release | SystemCondition | Order Type | Cost Center | Created On | Functional Loc. | Equipment | MaintPlant | Plant Section | Entered By | Changed By | PGrp Task List | MaintenancePlan | Group | Sort Field | Planner Group | MaintActivType | OrderPlanInd.
20241212 | 2024-12-12 | I-22L003 | 2230003686 | Penggantian Lampu Ruang Hypo PS II |  | E1-N01 | 245832 | 2024-12-09 | 2024-12-12 | TECO CNF PRT JBFI MANC NMAT PRC SETC | 245832 | 2026-01-30 | 2024-12-09 |  | 22CM | 222300 | 2024-12-03 | A-A1-03-003-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22J
20241212 | 2024-12-12 | P-22L007 | 2230003700 | Penggantian Lampu Spot Light Resepsionis |  | E1-N01 | 122916 | 2024-12-10 | 2024-12-12 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-01-30 | 2024-12-09 |  | 22CM | 223200 | 2024-12-06 | A-A2-01-014 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22J
20250225 | 2025-02-25 | P-22L006 | 2230003903 | Pembuatan Akses Jalan Depan Ru.Dosing |  | S1-OS1 | 1106244 | 2025-02-24 | 2025-02-27 | TECO CNF PRT JBFI NMAT PRC SETC | 983328 | 2026-04-30 | 2025-02-18 |  | 22CM | 222300 | 2025-02-18 | A-A2-03-010 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22M
20250306 | 2025-03-06 | P-22L007 | 2230003934 | Penggantian Roda Bridge Scrapper ACC III | Bridge Scrapper Accelator III | M1-OS1 | 71131248 | 2025-02-28 | 2025-03-06 | TECO CNF PRT GMPS JBFI MANC PRC SETC | 71991660 | 2026-02-27 | 2025-02-28 |  | 22CM | 222300 | 2025-02-28 | A-A2-01-005-003 | 2210000146 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22J
20250701 | 2025-07-01 | P-22L007 | 2230004210 | Perbaikan Aktuator Bak Kapur | Aktuator Bak Kapur 39 | O1-N01 | 245832 | 2025-06-24 | 2025-07-01 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-02-27 | 2025-06-26 |  | 22CM | 222300 | 2025-06-24 | A-A2-01-003-004 | 2210000061 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22F
20250714 | 2025-07-14 | I-22L003 | 2230004242 | Pemasangan Lampu Sorot Spoilbank |  | E1-N01 | 0 | 2025-07-07 | 2025-07-14 | TECO CNF JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2025-07-07 |  | 22CM | 222300 | 2025-07-04 | A-A1-03-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20250715 | 2026-03-31 |  | 2230004265 | Pek.Penertiban Bangunan Liar Lahan KTI |  | S1-N01 | 20000010 | 2025-07-15 | 2025-08-15 | TECO CNF PRT JBFI NMAT PRC SETC | 0 | 2026-03-31 | 2025-07-15 |  | 22CM | 222300 | 2025-07-15 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22B
20250813 | 2025-08-13 | P-22L007 | 2230004342 | Perbaikan Exhaust Fan K.Mandi PU Lt.1 |  | S1-OS1 | 245832 | 2025-08-11 | 2025-08-14 | TECO CNF JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2025-08-11 |  | 22CM | 223200 | 2025-08-11 | A-A2-01-012 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20250826 | 2026-03-31 | P-22L007 | 2230004352 | Pek.Kalibrasi Alat Laboratorium |  | O1-N01 | 21400500 | 2025-08-14 | 2025-09-12 | TECO CNF PRT JBFI NMAT PRC SETC | 0 | 2026-03-31 | 2025-08-13 |  | 22CM | 223200 | 2025-08-13 | A-A2-01-002-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22D
20250822 | 2025-08-22 | I-22L001 | 2230004354 | Perbaikan Breaker MV Drive PS 1 Cidanau |  | E1-N01 | 27734976 | 2025-08-15 | 2025-08-22 | TECO CNF GMPS JBFI MANC PRC SETC | 27734976 | 2026-01-30 | 2025-08-20 |  | 22CM | 222300 | 2025-08-15 | A-A1-01-005-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20250901 | 2025-09-01 | P-22L006 | 2230004355 | Perbaikan Plafon Depan Ru Panel WTP CDN |  | S1-OS1 | 553122 | 2025-08-18 | 2025-09-01 | TECO CNF JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2025-08-20 |  | 22CM | 223200 | 2025-08-15 | A-A2-03-016 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20250825 | 2025-08-25 | I-22L004 | 2230004369 | Pembuatan Lubang Biopori Plant CPS |  | S1-OS1 | 737496 | 2025-08-25 | 2025-09-08 | TECO CNF JBFI NMAT PRC SETC | 368748 | 2026-02-27 | 2025-08-28 |  | 22CM | 223200 | 2025-08-22 | A-A1-02-006 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20250826 | 2026-03-31 |  | 2230004382 | Pek. Penataan Taman Area Dalam Plant KRC |  | S1-N01 | 25442456 | 2025-08-26 | 2025-09-26 | TECO CNF JBFI NMAT PRC SETC | 0 | 2026-03-31 | 2025-08-26 |  | 22CM | 222300 | 2025-08-26 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22K
20250926 | 2025-09-26 | P-22L007 | 2230004434 | Perapihan Kabel Ruang Operator Alum |  | E1-N01 | 245832 | 2025-09-18 | 2025-09-25 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-03-31 | 2025-09-18 |  | 22CM | 222300 | 2025-09-16 | A-A2-01-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22K
20250929 | 2025-09-29 | P-22L007 | 2230004446 | Pemasangan Ram Pada Kolam Recycle |  | M1-OS1 | 368748 | 2025-09-22 | 2025-09-29 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-02-27 | 2025-09-23 |  | 22CM | 222300 | 2025-09-19 | A-A2-01-009-004 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22M
20250929 | 2026-03-31 |  | 2230004447 | Pek.Kegiatan 5R Div.keuangan PT.KTI |  | S1-N01 | 20564103 | 2025-09-22 | 2025-10-20 | TECO CNF PRT JBFI NMAT PRC SETC | 0 | 2026-03-31 | 2025-09-19 |  | 22CM | 222300 | 2025-09-19 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22B
20250929 | 2026-03-31 |  | 2230004465 | Pek.Perbaikan Rumah Dinas |  | S1-N01 | 8205128 | 2025-09-29 | 2025-10-27 | TECO CNF PRT JBFI NMAT PRC SETC | 0 | 2026-03-31 | 2025-09-29 |  | 22CM | 222300 | 2025-09-26 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20250929 | 2026-03-31 |  | 2230004466 | Pek.Kalibrasi Alat K3 |  | O1-N01 | 18148500 | 2025-09-29 | 2025-10-29 | TECO CNF PRT JBFI NMAT PRC SETC | 0 | 2026-03-31 | 2025-09-29 |  | 22CM | 222300 | 2025-09-29 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22K
20260223 | 2026-02-23 |  | 2230004467 | Pembuatan Pagar Area Taman Depan PT KTI |  | M1-OS1 | 245832 | 2025-10-03 | 2025-10-24 | TECO CNF PRT JBFI MANC NMAT PRC SETC | 3687480 | 2026-02-27 | 2025-10-07 |  | 22CM | 222300 | 2025-09-29 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22M
20251016 | 2025-10-16 | P-22L007 | 2230004484 | Pengecatan Cerobong Genset 2250Kva | GenSet 2250 kVA | S1-OS1 | 553122 | 2025-10-20 | 2025-10-24 | TECO CNF PRT JBFI NMAT PRC SETC | 614580 | 2026-01-30 | 2025-10-10 |  | 22CM | 222300 | 2025-10-09 | A-A2-01-002-012 | 2210000231 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20251010 | 2026-03-31 | P-22L007 | 2230004485 | Pek.Perawataan & Penataan Drainase PRD |  | S1-N01 | 96344000 | 2025-10-10 | 2025-11-10 | TECO CNF PRT JBFI NMAT PRC SETC | 0 | 2026-03-31 | 2025-10-10 |  | 22CM | 222300 | 2025-10-09 | A-A2-01-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22K
20251013 | 2026-03-31 |  | 2230004491 | Pek.Perawatan Rutin dan Non Rutin (Umum) |  | S1-N01 | 25400972 | 2025-10-13 | 2025-11-13 | TECO CNF PRT JBFI NMAT PRC SETC | 0 | 2026-03-31 | 2025-10-13 |  | 22CM | 222300 | 2025-10-13 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22K
20251022 | 2025-10-22 |  | 2230004499 | Pembuatan Tiang Dudukan Dustfall Bottle |  | M1-OS1 | 491664 | 2025-10-16 | 2025-10-22 | TECO CNF PRT JBFI NMAT PRC SETC | 491664 | 2026-01-30 | 2025-10-15 |  | 22CM | 222300 | 2025-10-15 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22M
20251031 | 2025-10-31 |  | 2230004501 | Penggantian Lampu Rumah Dinas Jl.Santani |  | E1-N01 | 245832 | 2025-10-20 | 2025-10-31 | TECO CNF JBFI NMAT PRC SETC | 368748 | 2026-01-30 | 2025-10-24 |  | 22CM | 222300 | 2025-10-16 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22J
20251021 | 2026-03-31 | P-22L006 | 2230004508 | Pek. Pengurasan Lamela CLarifier WTP CDN |  | S1-N01 | 19468000 | 2025-10-21 | 2025-11-21 | TECO CNF PRT JBFI MANC NMAT PRC SETC | 0 | 2026-03-31 | 2025-10-21 |  | 22CM | 222300 | 2025-10-21 | A-A2-03 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22K
20260316 | 2026-03-16 | P-22L007 | 2230004527 | Perbaikan Pompa Alum 31M1 | Pompa Alum Sulfat 31M1 | M1-OS1 | 14386416 | 2025-10-28 | 2025-11-18 | TECO CNF PRT GMPS JBFI MANC PRC SETC | 14755164 | 2026-04-30 | 2025-10-28 |  | 22CM | 222300 | 2025-10-27 | A-A2-01-003-001 | 2210000005 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20251117 | 2025-11-17 |  | 2230004530 | Pemasangan Dustfall di Plant Krenceng |  | S1-OS1 | 737496 | 2025-10-29 | 2025-11-18 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-02-27 | 2025-11-05 |  | 22CM | 222300 | 2025-10-28 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22M
20251107 | 2025-11-07 | P-22L007 | 2230004537 | Penggantian Lampu Ru Tunggu Driver |  | E1-N01 | 122916 | 2025-11-04 | 2025-11-07 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-01-30 | 2025-11-05 |  | 22CM | 223200 | 2025-11-03 | A-A2-01-017-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22J
20251104 | 2026-04-02 | I-22L002 | 2230004540 | Pek.Penataan & Perawatan Drainase |  | S1-N01 | 74775000 | 2025-11-04 | 2025-12-04 | TECO CNF PRT JBFI NMAT PRC SETC | 0 | 2026-04-30 | 2025-11-04 |  | 22CM | 222300 | 2025-11-04 | A-A2-01-010 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22K
20251114 | 2025-11-14 | I-22L002 | 2230004547 | Perbaikan Gearbox Motor Conveyor DCTR | GearBox Motor Konveyor Decanter 2 | M1-OS1 | 491664 | 2025-11-10 | 2025-11-14 | TECO CNF PRT JBFI NMAT PRC SETC | 491664 | 2026-01-30 | 2025-11-12 |  | 22CM | 222300 | 2025-11-10 | A-A2-01-010-001 | 2210003319 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20251231 | 2025-12-31 | P-22L006 | 2230004551 | Penarikan Kabel Gd Control Room Cidanau |  | O1-N01 | 245832 | 2025-11-24 | 2025-12-31 | TECO CNF PRT JBFI MANC NMAT PRC SETC | 921870 | 2026-04-30 | 2025-11-24 |  | 22CM | 222300 | 2025-11-12 | A-A2-03 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22M
20251219 | 2025-12-19 | P-22L007 | 2230004563 | Penarikan Kabel Gd CR KRC ke UPS Server |  | E1-N01 | 737496 | 2025-11-27 | 2025-12-19 | TECO CNF PRT JBFI NMAT PRC SETC | 737496 | 2026-02-27 | 2025-11-24 |  | 22CM | 222300 | 2025-11-14 | A-A2-01-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20251121 | 2025-11-21 | I-22L002 | 2230004577 | Perbaikan Inst.Air bersih Jalur Decanter |  | M1-OS1 | 368748 | 2025-11-24 | 2025-12-01 | TECO CNF PRT JBFI MANC NMAT PRC SETC | 368748 | 2026-01-30 | 2025-11-24 |  | 22CM | 222300 | 2025-11-24 | A-A2-01-010 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20251208 | 2025-12-08 | P-22L007 | 2230004581 | Pemisahan Power Listrik AC Dan UPS SI&MK |  | E1-N01 | 122916 | 2025-12-01 | 2025-12-08 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-01-30 | 2025-11-28 |  | 22CM | 223200 | 2025-11-26 | A-A2-01-014-010 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22L
20251212 | 2025-12-12 | P-22L007 | 2230004600 | Perbaikan Instal. Lampu Gd. Sipil PS VI |  | E1-N01 | 122916 | 2025-12-05 | 2025-12-12 | TECO CNF JBFI NMAT PRC SETC | 122916 | 2026-04-30 | 2025-12-10 |  | 22CM | 222300 | 2025-12-03 | A-A2-01-008 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20251208 | 2025-12-08 | P-22L007 | 2230004606 | Perb. Kabel Power Motor Bridge ACC 1 | Motor Bridge 21M1 | E1-N01 | 368748 | 2025-12-08 | 2025-12-09 | TECO CNF JBFI NMAT PRC SETC | 368748 | 2026-01-30 | 2025-12-10 |  | 22CM | 222300 | 2025-12-08 | A-A2-01-005-001 | 2210000070 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20251210 | 2025-12-10 | P-22L007 | 2230004608 | Perbaikan Aktuator Lumpur ACC III | Aktuator lumpur Acc III | O1-N01 | 245832 | 2025-12-08 | 2025-12-10 | TECO CNF JBFI NMAT PRC SETC | 368748 | 2026-01-30 | 2025-12-10 |  | 22CM | 222300 | 2025-12-08 | A-A2-01-005-003 | 2210000216 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22F
20251209 | 2025-12-09 | P-22L007 | 2230004609 | Penggantian Lampu Gd Produksi Lt 1 |  | E1-N01 | 122916 | 2025-12-09 | 2025-12-12 | TECO CNF JBFI NMAT PRC SETC | 122916 | 2026-01-30 | 2025-12-10 |  | 22CM | 222300 | 2025-12-09 | A-A2-01-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22J
20251209 | 2025-12-09 | I-22L002 | 2230004612 | Perbaikan Exhaust Fan Decanter No.2 | Decanter No.2 | E1-N01 | 245832 | 2025-12-10 | 2025-12-19 | TECO CNF JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2025-12-10 |  | 22CM | 222300 | 2025-12-09 | A-A2-01-010-001 | 2210003047 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20251212 | 2026-04-02 |  | 2230004617 | Pek.Perapihan Akses Masuk Plant Krenceng |  | S1-N01 | 28205128 | 2025-12-12 | 2026-01-13 | TECO CNF PRT JBFI NMAT PRC SETC | 0 | 2026-04-30 | 2025-12-11 |  | 22CM | 222300 | 2025-12-11 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22K
20251212 | 2025-12-12 | P-22L007 | 2230004618 | Pelepasan dan Pemasangan Jendela Gd Prod |  | S1-OS1 | 553122 | 2025-12-12 | 2025-12-17 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2025-12-16 |  | 22CM | 222300 | 2025-12-11 | A-A2-01-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22L
20251219 | 2025-12-19 | I-22L004 | 2230004619 | Perbaikan Kisi Kisi Pintu R.Trafo CPS |  | M1-OS1 | 983328 | 2025-12-15 | 2025-12-19 | TECO CNF PRT JBFI NMAT PRC SETC | 983328 | 2026-01-30 | 2025-12-16 |  | 22CM | 222300 | 2025-12-11 | A-A1-02-003-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20251222 | 2025-12-22 | I-22L004 | 2230004620 | Perbaikan Engsel Pintu Ru.TM CPS |  | M1-OS1 | 122916 | 2025-12-16 | 2025-12-22 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-01-30 | 2025-12-16 |  | 22CM | 222300 | 2025-12-11 | A-A1-02-003-005 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20251222 | 2025-12-22 | I-22L004 | 2230004621 | Perbaikan Handle Pintu Ru.Kompressor |  | M1-OS1 | 122916 | 2025-12-16 | 2025-12-22 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2025-12-16 |  | 22CM | 222300 | 2025-12-11 | A-A1-02-003-007 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20251212 | 2025-12-12 | P-22L007 | 2230004625 | Penggantian Valve GLF Cell 3.3 | Valve GLF Cell 3.3 | M1-OS1 | 2872916 | 2025-12-12 | 2025-12-15 | TECO CNF PRT GMPS JBFI MANC PRC SETC | 2872916 | 2026-01-30 | 2025-12-15 |  | 22CM | 222300 | 2025-12-12 | A-A2-01-004-003 | 2210000157 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22J
20251215 | 2025-12-15 | P-22L007 | 2230004626 | Perbaikan Kaca Jendela Distribusi |  | S1-OS1 | 184374 | 2025-12-12 | 2025-12-15 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-01-30 | 2025-12-16 |  | 22CM | 223200 | 2025-12-12 | A-A2-01-013-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20251216 | 2025-12-16 | I-22L003 | 2230004632 | Penggantian Lampu Ru Sodium Hypo Waduk |  | E1-N01 | 122916 | 2025-12-16 | 2025-12-16 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-01-30 | 2025-12-16 |  | 22CM | 222300 | 2025-12-16 | A-A1-03-003-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22J
20251219 | 2025-12-19 | P-22L007 | 2230004634 | Perbaikan Pipa Air Area Pos Keamanan 2 |  | S1-OS1 | 368748 | 2025-12-18 | 2025-12-19 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2025-12-29 |  | 22CM | 223200 | 2025-12-19 | A-A2-01-017-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20251222 | 2025-12-22 | I-22L003 | 2230004635 | Perbaikan Kabel Inst.Panel Lampu PS II |  | E1-N01 | 245832 | 2025-12-19 | 2025-12-22 | TECO CNF JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2025-12-29 |  | 22CM | 222300 | 2025-12-22 | A-A1-03-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20251224 | 2025-12-24 | P-22L007 | 2230004636 | Perbaikan Flowmeter Recycle Backwash |  | O1-N01 | 245832 | 2025-12-22 | 2025-12-24 | TECO CNF JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2025-12-29 |  | 22CM | 222300 | 2025-12-22 | A-A2-01-009-004 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22F
20251222 | 2025-12-22 | P-22L007 | 2230004637 | Penggantian Header Valve Inst.Botol Chlo | Instalasi Botol Chlorine | M1-OS1 | 6126600 | 2025-12-22 | 2025-12-24 | TECO CNF GMPS JBFI MANC PRC SETC | 6126600 | 2026-01-30 | 2025-12-22 |  | 22CM | 222300 | 2025-12-22 | A-A2-01-003-006 | 2210000046 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22J
20251223 | 2026-04-02 |  | 2230004638 | Pek. Jasa Tenaga Kebersihan Rumas Dinas |  | S1-N01 | 32820516 | 2025-12-23 | 2026-01-23 | TECO CNF PRT JBFI NMAT PRC SETC | 0 | 2026-04-30 | 2025-12-23 |  | 22CM | 222300 | 2025-12-23 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22K
20251224 | 2025-12-24 | P-22L007 | 2230004639 | Perbaikan Laci Meja Kerja Staff Sekper |  | S1-OS1 | 184374 | 2025-12-23 | 2025-12-26 | TECO CNF PRT JBFI NMAT PRC SETC | 184374 | 2026-01-30 | 2025-12-29 |  | 22CM | 223200 | 2025-12-23 | A-A2-01-014-005 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260107 | 2026-01-07 | I-22L003 | 2230004640 | Pemasangan Level Meter Gd Sodium Hipo |  | M1-OS1 | 245832 | 2025-12-24 | 2026-01-07 | TECO CNF JBFI NMAT PRC SETC | 245832 | 2026-02-27 | 2025-12-29 |  | 22CM | 222300 | 2025-12-24 | A-A1-03-003-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22M
20260130 | 2026-01-30 | P-22L007 | 2230004641 | Penggantian Level Meter Kianchem |  | M1-OS1 | 245832 | 2025-12-24 | 2025-12-31 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-02-27 | 2025-12-29 |  | 22CM | 222300 | 2025-12-24 | A-A2-01-005 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22J
20251224 | 2025-12-24 | P-22L007 | 2230004649 | Pemasangan Stop Kontak Ru.Sekper |  | E1-N01 | 122916 | 2025-12-29 | 2026-01-02 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2025-12-29 |  | 22CM | 223200 | 2025-12-24 | A-A2-01-014-005 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20260102 | 2026-01-02 | I-22L001 | 2230004653 | Perbaikan Control Motor Gate Intake PS I | Gate Sand Trap Cidanau | O1-N01 | 245832 | 2025-12-29 | 2026-01-02 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-01-30 | 2026-01-06 |  | 22CM | 222300 | 2025-12-30 | A-A1-01-002 | 2210000447 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22F
20251231 | 2025-12-31 | I-22L003 | 2230004654 | Penggantian Lampu Pos 1 Waduk |  | E1-N01 | 122916 | 2025-12-30 | 2026-01-06 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-01-30 | 2026-01-06 |  | 22CM | 223200 | 2025-12-30 | A-A1-03-004-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22J
20260106 | 2026-01-06 | P-22L007 | 2230004655 | Perbaikan Sump Pump Accelator 3 | Pompa Sump Pump Accelator III | M1-OS1 | 368748 | 2025-12-30 | 2026-01-06 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-01-30 | 2026-01-06 |  | 22CM | 222300 | 2025-12-30 | A-A2-01-005-003 | 2210000143 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20251231 | 2025-12-31 | P-22L007 | 2230004656 | Perbaikan Valve Aktuator Accelator 3 | Aktuator lumpur Acc III | M1-OS1 | 245832 | 2025-12-30 | 2026-01-02 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2026-01-06 |  | 22CM | 222300 | 2025-12-30 | A-A2-01-005-003 | 2210000216 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20251231 | 2025-12-31 | P-22L007 | 2230004657 | Perbaikan Lampu Kontainer Personil GLF |  | E1-N01 | 122916 | 2025-12-31 | 2026-01-02 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-01-30 | 2026-01-06 |  | 22CM | 223200 | 2025-12-31 | A-A2-01-017 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20251231 | 2025-12-31 | I-22L002 | 2230004658 | Persiapan Penggantian Pompa Decanter |  | M1-OS1 | 54858979 | 2025-12-31 | 2025-12-31 | TECO CNF PRT GMPS JBFI MANC PRC SETC | 55104811 | 2026-01-30 | 2025-12-31 |  | 22CM | 222300 | 2025-12-31 | A-A2-01-010-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260106 | 2026-01-06 | P-22L007 | 2230004659 | Perbaikan Plafon Kamar Mandi GTG Lt 1 |  | S1-OS1 | 553122 | 2026-01-02 | 2026-01-06 | TECO CNF PRT JBFI NMAT PRC SETC | 184374 | 2026-02-27 | 2026-01-06 |  | 22CM | 223200 | 2026-01-02 | A-A2-01-014 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260106 | 2026-01-06 | I-22L001 | 2230004660 | Pengecheckan Baterai Flowmeter PS I |  | O1-N01 | 3131832 | 2026-01-05 | 2026-01-30 | TECO CNF PRT GMPS JBFI MANC PRC SETC | 3131832 | 2026-02-27 | 2026-01-06 |  | 22CM | 223200 | 2026-01-02 | A-A1-01-006 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22A
20260106 | 2026-01-06 | P-22L007 | 2230004661 | Perbaikan Plafon Ru Kerja GTG Lt.1 |  | S1-OS1 | 737496 | 2026-01-02 | 2026-01-09 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-02-27 | 2026-01-06 |  | 22CM | 223200 | 2026-01-02 | A-A2-01-014 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260103 | 2026-01-03 | P-22L007 | 2230004662 | Perapihan Kabel Ru Kerja GTG Lt 1 |  | E1-N01 | 122916 | 2026-01-02 | 2026-01-09 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-01-30 | 2026-01-06 |  | 22CM | 223200 | 2026-01-02 | A-A2-01-014 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22G
20260105 | 2026-01-05 | P-22L007 | 2230004663 | Pemasangan Stop Kontak Ru Kerja GTG Lt.1 |  | E1-N01 | 122916 | 2026-01-02 | 2026-01-09 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-01-30 | 2026-01-06 |  | 22CM | 223200 | 2026-01-02 | A-A2-01-014 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20260109 | 2026-01-09 | I-22L003 | 2230004664 | Perbaikan Lampu Area Pos Keamanan 2 |  | E1-N01 | 122916 | 2026-01-05 | 2026-01-09 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-03-31 | 2026-01-06 |  | 22CM | 223200 | 2026-01-05 | A-A1-03-004-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20260109 | 2026-01-09 | P-22L007 | 2230004665 | Pengecatan Tiang Area Pos Keamanan 2 |  | S1-OS1 | 553122 | 2026-01-05 | 2026-01-09 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-02-27 | 2026-01-06 |  | 22CM | 223200 | 2026-01-05 | A-A2-01-017-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260108 | 2026-01-08 | P-22L007 | 2230004666 | Perbaikan Listrik Area Parkir Mobil |  | E1-N01 | 368748 | 2026-01-05 | 2026-01-09 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-01-30 | 2026-01-06 |  | 22CM | 223200 | 2026-01-05 | A-A2-01-017-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20260109 | 2026-01-09 | I-22L003 | 2230004667 | Kalibrasi Transmitter Level Waduk | Sensor Level Waduk | O1-N01 | 245832 | 2026-01-05 | 2026-01-09 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-01-30 | 2026-01-06 |  | 22CM | 222300 | 2026-01-05 | A-A1-03-001-001 | 2210002907 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22D
20260106 | 2026-04-02 | P-22L007 | 2230004669 | Pek. Perbaikan Gearbox Agitator ACC 3 |  | M1-N01 | 25000000 | 2026-01-06 | 2026-02-06 | TECO CNF JBFI NMAT PRC SETC | 0 | 2026-04-30 | 2026-01-06 |  | 22CM | 222300 | 2026-01-06 | A-A2-01-005-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22K
20260106 | 2026-04-02 |  | 2230004670 | Pek.Perawatan Rutin dan Non Rutin (Umum) |  | S1-N01 | 27986834 | 2026-01-06 | 2026-02-06 | TECO CNF JBFI NMAT PRC SETC | 0 | 2026-04-30 | 2026-01-06 |  | 22CM | 222300 | 2026-01-06 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22K
20260106 | 2026-02-06 |  | 2230004671 | Pek. Penataan Ruang Kerja GTG Lt.1 |  | S1-N01 | 20312608 | 2026-01-06 | 2026-02-06 | TECO CNF JBFI NMAT PRC SETC | 0 | 2026-03-31 | 2026-01-06 |  | 22CM | 222300 | 2026-01-06 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22K
20260109 | 2026-01-09 | I-22L002 | 2230004672 | Pemb. Support Pipa HDPE 6" Equalisasi |  | M1-OS1 | 737496 | 2026-01-07 | 2026-01-09 | TECO CNF PRT JBFI NMAT PRC SETC | 737496 | 2026-01-30 | 2026-01-09 |  | 22CM | 222300 | 2026-01-07 | A-A2-01-010-004 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22M
20260112 | 2026-01-12 | P-22L007 | 2230004673 | Perbaikan Atap KM Wanita Lt.1 GTG |  | S1-OS1 | 921870 | 2026-01-09 | 2026-01-13 | TECO CNF PRT JBFI MANC NMAT PRC SETC | 368748 | 2026-02-27 | 2026-01-09 |  | 22CM | 223200 | 2026-01-07 | A-A2-01-014 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260107 | 2026-01-07 | P-22L007 | 2230004674 | Pengg. Exhaust Fan KM Wanita Lt 1 GTG |  | S1-OS1 | 368748 | 2026-01-09 | 2026-01-12 | TECO CNF PRT JBFI MANC NMAT PRC SETC | 368748 | 2026-02-27 | 2026-01-09 |  | 22CM | 223200 | 2026-01-07 | A-A2-01-014 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22J
20260107 | 2026-01-07 | P-22L007 | 2230004675 | Perbaikan Laci Meja Kerja Staff Sekper |  | S1-OS1 | 368748 | 2026-01-05 | 2026-01-07 | TECO CNF PRT JBFI NMAT PRC SETC | 184374 | 2026-02-27 | 2026-01-09 |  | 22CM | 223200 | 2026-01-07 | A-A2-01-014-005 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260107 | 2026-01-07 | P-22L007 | 2230004676 | Pembuatan Name Tag Parkir Staff A. Utama |  | S1-OS1 | 184374 | 2026-01-07 | 2026-01-08 | TECO CNF PRT JBFI NMAT PRC SETC | 184374 | 2026-02-27 | 2026-01-09 |  | 22CM | 223200 | 2026-01-07 | A-A2-01-017-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22M
20260109 | 2026-01-09 |  | 2230004677 | Penggantian Lampu Ru Dinas Jl.Santani 17 |  | E1-N01 | 245832 | 2026-01-07 | 2026-01-09 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-01-30 | 2026-01-09 |  | 22CM | 222300 | 2026-01-08 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22J
20260108 | 2026-01-08 |  | 2230004678 | Perb. Saluran Air Ru Dinas Jl.Santani 17 |  | S1-OS1 | 553122 | 2026-01-07 | 2026-01-09 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-02-27 | 2026-01-09 |  | 22CM | 222300 | 2026-01-08 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260108 | 2026-01-08 |  | 2230004679 | Perb. Exhaust Fan KM Ru Dinas Jl.Santani |  | S1-OS1 | 184374 | 2026-01-07 | 2026-01-09 | TECO CNF PRT JBFI NMAT PRC SETC | 184374 | 2026-02-27 | 2026-01-09 |  | 22CM | 222300 | 2026-01-08 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260109 | 2026-01-09 | P-22L007 | 2230004680 | Perbaikan Lampu Pos Keamanan 1 |  | E1-N01 | 122916 | 2026-01-08 | 2026-01-09 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-01-09 |  | 22CM | 223200 | 2026-01-08 | A-A2-01-017-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20260108 | 2026-02-09 | P-22L007 | 2230004681 | Pek. Normalisasi Bak Recycle Backwash |  | S1-N01 | 24901000 | 2026-01-08 | 2026-02-09 | TECO CNF JBFI NMAT PRC SETC | 0 | 2026-03-31 | 2026-01-08 |  | 22CM | 222300 | 2026-01-08 | A-A2-01-009-004 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22K
20260120 | 2026-01-20 | P-22L007 | 2230004683 | Penggantian Lampu Gedung PU Lantai 2 |  | E1-N01 | 122916 | 2026-01-15 | 2026-01-22 | TECO CNF JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-01-19 |  | 22CM | 223200 | 2026-01-13 | A-A2-01-012 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22J
20260121 | 2026-01-21 | P-22L007 | 2230004684 | Pemasangan Stop Kontak Ruang Direktur PU |  | E1-N01 | 122916 | 2026-01-14 | 2026-01-21 | TECO CNF JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-01-19 |  | 22CM | 223200 | 2026-01-13 | A-A2-01-012-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20260115 | 2026-01-15 | P-22L007 | 2230004685 | Penggantian Lampu Ruang Rapat Depan Pos |  | E1-N01 | 122916 | 2026-01-14 | 2026-01-15 | TECO CNF JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-01-19 |  | 22CM | 223200 | 2026-01-13 | A-A2-01-017 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22J
20260114 | 2026-01-14 | P-22L007 | 2230004686 | Penggantian Lampu Pos 1 Keamanan |  | E1-N01 | 122916 | 2026-01-13 | 2026-01-14 | TECO CNF JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-01-19 |  | 22CM | 223200 | 2026-01-13 | A-A2-01-017-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22J
20260122 | 2026-01-22 | I-22L004 | 2230004687 | Penggantian MCB Pos Cipasauran |  | E1-N01 | 122916 | 2026-01-15 | 2026-01-30 | TECO CNF JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-01-19 |  | 22CM | 223200 | 2026-01-13 | A-A1-02-006-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22J
20260116 | 2026-01-16 | P-22L007 | 2230004688 | Connect Power Pompa 2" di Accelator III |  | E1-N01 | 245832 | 2026-01-13 | 2026-01-20 | TECO CNF JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2026-01-19 |  | 22CM | 222300 | 2026-01-13 | A-A2-01-005-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20260203 | 2026-02-03 | P-22L007 | 2230004689 | Pemasangan Lampu Sorot Area Pos Bawah |  | E1-N01 | 491664 | 2026-01-14 | 2026-02-03 | TECO CNF JBFI NMAT PRC SETC | 491664 | 2026-03-31 | 2026-01-19 |  | 22CM | 223200 | 2026-01-13 | A-A2-01-017-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20260113 | 2026-01-13 | P-22L006 | 2230004690 | Perbaikan Instal. Outlet Pompa 2 WTP CDN | Pompa Distribusi 701M1 | M1-OS1 | 245832 | 2026-01-12 | 2026-01-15 | TECO CNF JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2026-01-19 |  | 22CM | 222300 | 2026-01-13 | A-A2-03-006-001 | 2210000502 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260120 | 2026-01-20 | I-22L002 | 2230004691 | Perbaikan Kebisingan Decanter No 1 | Decanter No.1 | M1-OS1 | 245832 | 2026-01-13 | 2026-01-20 | TECO CNF JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2026-01-19 |  | 22CM | 222300 | 2026-01-13 | A-A2-01-010-001 | 2210003046 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260120 | 2026-01-20 | P-22L007 | 2230004692 | Penggantian Lampu Luar Gedung PU |  | E1-N01 | 122916 | 2026-01-14 | 2026-01-21 | TECO CNF JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-01-19 |  | 22CM | 223200 | 2026-01-14 | A-A2-01-012 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22J
20260114 | 2026-01-14 | P-22L007 | 2230004693 | Perbaikan Cover dan Lampu Gudang PU |  | E1-N01 | 245832 | 2026-01-13 | 2026-01-14 | TECO CNF JBFI NMAT PRC SETC | 245832 | 2026-02-27 | 2026-01-19 |  | 22CM | 223200 | 2026-01-14 | A-A2-01-012 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20260114 | 2026-01-14 | P-22L007 | 2230004694 | Penggantian Jet Shower KM Wanita Lt 2 |  | S1-OS1 | 184374 | 2026-01-13 | 2026-01-20 | TECO CNF JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-01-19 |  | 22CM | 223200 | 2026-01-14 | A-A2-01-014 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22J
20260114 | 2026-01-14 | P-22L007 | 2230004695 | Penggantian Kran Urinoir KM Pria Lt. 2 |  | S1-OS1 | 122916 | 2026-01-13 | 2026-01-14 | TECO CNF JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-01-19 |  | 22CM | 223200 | 2026-01-14 | A-A2-01-014 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22J
20260114 | 2026-01-14 | P-22L007 | 2230004696 | Pemasangan Stop Kontak Ru Rapat Sekper |  | E1-N01 | 122916 | 2026-01-13 | 2026-01-14 | TECO CNF JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-01-19 |  | 22CM | 223200 | 2026-01-14 | A-A2-01-014-005 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20260114 | 2026-01-14 | P-22L007 | 2230004697 | Perbaikan Kunci Pintu KM Pria GIC |  | S1-OS1 | 122916 | 2026-01-13 | 2026-01-14 | TECO CNF JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-01-19 |  | 22CM | 223200 | 2026-01-14 | A-A2-01-015-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260115 | 2026-01-15 | I-22L002 | 2230004698 | Pekerjaan Koneksi Pompa Submersible 4" |  | E1-N01 | 122916 | 2026-01-14 | 2026-01-21 | TECO CNF JBFI NMAT PRC SETC | 122916 | 2026-01-30 | 2026-01-19 |  | 22CM | 222300 | 2026-01-14 | A-A2-01-010-004 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20260115 | 2026-01-15 | P-22L006 | 2230004700 | Perbaikan Lampu Sorot Arah ke Lagoon |  | E1-N01 | 61458 | 2026-01-19 | 2026-02-02 | TECO CNF JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2026-01-19 |  | 22CM | 222300 | 2026-01-15 | A-A2-03-013 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20260122 | 2026-01-22 | P-22L007 | 2230004701 | Perbaikan Control Motor Pompa 62M1 | Panel Softstart 62M1 | E1-N01 | 245832 | 2026-01-15 | 2026-01-22 | TECO CNF JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2026-01-19 |  | 22CM | 222300 | 2026-01-15 | A-A2-01-002-004 | 2210000101 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20260115 | 2026-01-15 |  | 2230004702 | Pemasangan Spanduk Bulan K3 Plant KRC |  | S1-OS1 | 184374 | 2026-01-15 | 2026-01-22 | TECO CNF JBFI NMAT PRC SETC | 184374 | 2026-01-30 | 2026-01-19 |  | 22CM | 222300 | 2026-01-15 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22M
20260119 | 2026-01-19 |  | 2230004703 | Pemasangan Tempat Sanitasi Rumah Dinas |  | S1-OS1 | 184374 | 2026-01-14 | 2026-01-19 | TECO CNF JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-01-19 |  | 22CM | 222300 | 2026-01-19 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22M
20260126 | 2026-01-26 | P-22L006 | 2230004704 | Pemasangan PLC Modul Lagoon |  | O1-N01 | 8116241 | 2026-01-19 | 2026-01-26 | TECO CNF GMPS JBFI MANC PRC SETC | 8362073 | 2026-02-27 | 2026-01-19 |  | 22CM | 222300 | 2026-01-19 | A-A2-03-013 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22M
20260122 | 2026-01-22 | P-22L007 | 2230004705 | Pemasangan Stop Kontak Meja TU Divisi PU |  | E1-N01 | 122916 | 2026-01-20 | 2026-01-30 | TECO CNF JBFI NMAT PRC SETC | 245832 | 2026-02-27 | 2026-01-19 |  | 22CM | 223200 | 2026-01-19 | A-A2-01-012-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20260121 | 2026-01-21 | P-22L007 | 2230004706 | Perbaikan Plafon Ru Divisi HC & Umum |  | S1-OS1 | 245832 | 2026-01-19 | 2026-01-21 | TECO CNF JBFI NMAT PRC SETC | 245832 | 2026-02-27 | 2026-01-19 |  | 22CM | 223200 | 2026-01-19 | A-A2-01-014-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260120 | 2026-01-20 | I-22L003 | 2230004707 | Penyesuaian Level Waduk di Scada | Sensor Level Waduk | O1-N01 | 245832 | 2026-01-19 | 2026-01-20 | TECO CNF JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2026-01-19 |  | 22CM | 222300 | 2026-01-19 | A-A1-03-001-001 | 2210002907 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22D
20260121 | 2026-01-21 | P-22L007 | 2230004708 | Pengg. Saklar Lampu Ru Staff Ahli Dirut |  | E1-N01 | 122916 | 2026-01-20 | 2026-01-22 | TECO CNF JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-01-21 |  | 22CM | 223200 | 2026-01-21 | A-A2-01-014 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22J
20260120 | 2026-01-20 | I-22L002 | 2230004709 | Perb. Check Valve Transfer Pump Decanter | Pompa Transfer Sludge 1 | M1-OS1 | 245832 | 2026-01-20 | 2026-01-22 | TECO CNF JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2026-01-21 |  | 22CM | 222300 | 2026-01-21 | A-A2-01-010-001 | 2210003041 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260120 | 2026-01-20 | I-22L002 | 2230004710 | Cleaning Instalasi Transfer Decanter 3 | Pompa Transfer Sludge 3 | M1-OS1 | 245832 | 2026-01-20 | 2026-01-21 | TECO CNF JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2026-01-21 |  | 22CM | 222300 | 2026-01-21 | A-A2-01-010-001 | 2210003043 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22B
20260123 | 2026-01-23 | P-22L007 | 2230004711 | Perbaikan Kunci Lemari Gudang Arsip |  | S1-OS1 | 122916 | 2026-01-21 | 2026-01-23 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-01-28 |  | 22CM | 223200 | 2026-01-21 | A-A2-01-014-008 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260121 | 2026-01-21 | I-22L001 | 2230004712 | Penggantian Kran KM PS I Cidanau |  | S1-OS1 | 184374 | 2026-01-20 | 2026-01-22 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-01-28 |  | 22CM | 222300 | 2026-01-21 | A-A1-01-005 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260121 | 2026-01-21 | I-22L001 | 2230004713 | Perbaikan Dinding Control Room PS I CDN |  | S1-OS1 | 184374 | 2026-01-20 | 2026-01-21 | TECO CNF PRT JBFI NMAT PRC SETC | 184374 | 2026-02-27 | 2026-01-28 |  | 22CM | 222300 | 2026-01-21 | A-A1-01-005-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260122 | 2026-01-22 | P-22L007 | 2230004724 | Perbaikan Grating Tutup Kanal Acc 1 |  | M1-OS1 | 368748 | 2026-01-22 | 2026-01-23 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-01-30 | 2026-01-28 |  | 22CM | 222300 | 2026-01-23 | A-A2-01-005-005 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260210 | 2026-02-10 | P-22L006 | 2230004726 | Perbaikan Exhaust Fan PS VIII |  | E1-N01 | 2458320 | 2026-01-28 | 2026-02-10 | TECO CNF PRT JBFI MANC NMAT PRC SETC | 491664 | 2026-02-27 | 2026-01-28 |  | 22CM | 222300 | 2026-01-23 | A-A2-03-006 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20260209 | 2026-02-09 | P-22L006 | 2230004728 | Cleaning Panel Listrik WTP Cidanau |  | E1-N01 | 245832 | 2026-01-23 | 2026-02-09 | TECO CNF PRT JBFI NMAT PRC SETC | 1474992 | 2026-03-31 | 2026-01-28 |  | 22CM | 222300 | 2026-01-23 | A-A2-03 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22B
20260129 | 2026-01-29 | P-22L006 | 2230004729 | Pengecekan Koneksi Kabel Power Lagoon | Pompa 802M1 Transfer Lagoon Cidanau | O1-N01 | 245832 | 2026-01-28 | 2026-01-29 | TECO CNF PRT JBFI MANC NMAT PRC SETC | 122916 | 2026-03-31 | 2026-01-28 |  | 22CM | 222300 | 2026-01-23 | A-A2-03-013 | 2210000699 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22A
20260126 | 2026-01-27 | I-22L004 | 2230004730 | Perbaikan Capasitor 4 x 150 KVAR CPS | Panel Capacitor 1-4 CPS | E1-N01 | 8664264 | 2026-01-26 | 2026-02-16 | TECO CNF PRT GMPS JBFI MANC PRC SETC | 8664264 | 2026-02-27 | 2026-01-23 |  | 22CM | 222300 | 2026-01-23 | A-A1-02-003-006 | 2210000584 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20260130 | 2026-01-30 | P-22L007 | 2230004731 | Perbaikan Lampu Bridge Acc 1 |  | E1-N01 | 122916 | 2026-01-26 | 2026-01-30 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-01-28 |  | 22CM | 222300 | 2026-01-26 | A-A2-01-005-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260124 | 2026-01-24 | P-22L007 | 2230004732 | Pemasangan Kanal Grating Area GLF 5 |  | M1-OS1 | 245832 | 2026-01-23 | 2026-01-26 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2026-01-28 |  | 22CM | 222300 | 2026-01-26 | A-A2-01-005-005 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22M
20260124 | 2026-01-24 | P-22L007 | 2230004733 | Penggantian Grating Tutup Kanal Acc 1 |  | M1-OS1 | 245832 | 2026-01-23 | 2026-01-26 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2026-01-28 |  | 22CM | 222300 | 2026-01-26 | A-A2-01-005-005 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22J
20260126 | 2026-01-26 | P-22L007 | 2230004734 | Pemasangan Bingkai Ru Kadiv HC & Umum |  | S1-OS1 | 184374 | 2026-01-26 | 2026-01-28 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-01-28 |  | 22CM | 223200 | 2026-01-26 | A-A2-01-014-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22M
20260126 | 2026-01-26 | P-22L007 | 2230004735 | Perbaikan Pipa Air Area Parkir Mobil |  | S1-OS1 | 245832 | 2026-01-26 | 2026-01-30 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-02-27 | 2026-01-28 |  | 22CM | 223200 | 2026-01-26 | A-A2-01-017-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260218 | 2026-02-18 | P-22L006 | 2230004736 | Perbaikan Penyalur Petir DS WTP CDN |  | M1-OS1 | 368748 | 2026-01-28 | 2026-02-18 | TECO CNF PRT JBFI MANC NMAT PRC SETC | 368748 | 2026-03-31 | 2026-01-28 |  | 22CM | 222300 | 2026-01-28 | A-A2-03-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260220 | 2026-02-20 | P-22L006 | 2230004737 | Perbaikan Penyalur Petir Chamber WTP CDN |  | M1-OS1 | 553122 | 2026-01-28 | 2026-02-18 | TECO CNF PRT JBFI MANC NMAT PRC SETC | 368748 | 2026-03-31 | 2026-01-28 |  | 22CM | 222300 | 2026-01-28 | A-A2-03-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260223 | 2026-02-23 | P-22L006 | 2230004738 | Perbaikan Penyalur Petir FLC WTP Cidanau |  | M1-OS1 | 553122 | 2026-01-28 | 2026-02-19 | TECO CNF PRT JBFI MANC NMAT PRC SETC | 491664 | 2026-03-31 | 2026-01-28 |  | 22CM | 222300 | 2026-01-28 | A-A2-03-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260220 | 2026-02-20 | P-22L006 | 2230004739 | Perbaikan Penyalur Petir Reservoir CDN |  | M1-OS1 | 1474992 | 2026-01-28 | 2026-02-20 | TECO CNF PRT JBFI MANC NMAT PRC SETC | 1474992 | 2026-03-31 | 2026-01-28 |  | 22CM | 222300 | 2026-01-28 | A-A2-03-006-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260223 | 2026-02-23 | P-22L006 | 2230004740 | Perbaikan Penyalur Petir Lagoon WTP CDN |  | M1-OS1 | 368748 | 2026-02-02 | 2026-02-23 | TECO CNF PRT JBFI MANC NMAT PRC SETC | 368748 | 2026-04-30 | 2026-01-28 |  | 22CM | 222300 | 2026-01-28 | A-A2-03-013 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260128 | 2026-01-28 | P-22L007 | 2230004741 | Perbaikan Jet Shower KM Wanita GTG Lt.1 |  | S1-OS1 | 122916 | 2026-01-28 | 2026-02-04 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-01-28 |  | 22CM | 223200 | 2026-01-28 | A-A2-01-014 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260202 | 2026-02-02 | P-22L007 | 2230004742 | Pemasangan Pompa Kolam Depan Pos |  | S1-OS1 | 184374 | 2026-01-28 | 2026-02-11 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-01-28 |  | 22CM | 223200 | 2026-01-28 | A-A2-01-017-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22M
20260124 | 2026-01-24 | P-22L007 | 2230004743 | Perbaikan Coupling Vacuum 41M1 | Pompa Vakum 41M1 | M1-OS1 | 245832 | 2026-01-23 | 2026-01-28 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-01-30 | 2026-01-28 |  | 22CM | 222300 | 2026-01-28 | A-A2-01-003-001 | 2210000025 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260210 | 2026-02-10 | I-22L001 | 2230004744 | Perbaikan Check Valve Pompa No 2 PS I | Instalasi Pompa Intake Cidanau 2M1 | M1-OS1 | 245832 | 2026-01-29 | 2026-02-11 | TECO CNF PRT JBFI NMAT PRC SETC | 491664 | 2026-02-27 | 2026-01-30 |  | 22CM | 222300 | 2026-01-28 | A-A1-01-005-004 | 2210000443 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260202 | 2026-02-02 | P-22L007 | 2230004745 | Penggantian Flexible Botol Chlorine | Instalasi Botol Chlorine | M1-OS1 | 14897832 | 2026-01-30 | 2026-02-02 | TECO CNF PRT GMPS JBFI MANC PRC SETC | 15143664 | 2026-02-27 | 2026-01-30 |  | 22CM | 222300 | 2026-01-30 | A-A2-01-003-006 | 2210000046 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22J
20260130 | 2026-01-30 | I-22L001 | 2230004746 | Perbaikan Motor 6KV 3M1 PS 1 | Motor Intake Cidanau 3M1 | E1-N01 | 100821870 | 2026-01-30 | 2026-02-11 | TECO CNF PRT GMPS JBFI MANC PRC SETC | 100821870 | 2026-02-27 | 2026-01-30 |  | 22CM | 222300 | 2026-01-30 | A-A1-01-005-004 | 2210000436 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20260129 | 2026-01-29 | P-22L007 | 2230004747 | Perbaikan Kontrol VSD Motor 61M1 | Panel VSD 61M1 | O1-N01 | 23361886 | 2026-01-30 | 2026-02-03 | TECO CNF PRT GMPS JBFI MANC PRC SETC | 23484802 | 2026-02-27 | 2026-01-30 |  | 22CM | 222300 | 2026-01-30 | A-A2-01-002-004 | 2210000098 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22F
20260130 | 2026-01-30 | P-22L007 | 2230004748 | Perbaikan Atap Gudang Pasir |  | S1-OS1 | 921870 | 2026-01-30 | 2026-02-06 | TECO CNF PRT JBFI MANC NMAT PRC SETC | 737496 | 2026-04-30 | 2026-02-04 |  | 22CM | 223200 | 2026-01-30 | A-A2-01-017 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260206 | 2026-02-06 | P-22L007 | 2230004753 | Penggantian Hand Valve Bak Kapur 2 |  | M1-OS1 | 122916 | 2026-02-02 | 2026-02-06 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-02-04 |  | 22CM | 222300 | 2026-02-02 | A-A2-01-003-004 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22J
20260202 | 2026-02-02 | P-22L007 | 2230004754 | Perbaikan Flowmeter Kapur |  | O1-N01 | 245832 | 2026-02-02 | 2026-02-05 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-02-27 | 2026-02-04 |  | 22CM | 222300 | 2026-02-02 | A-A2-01-003-004 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22F
20260206 | 2026-02-06 | P-22L007 | 2230004756 | Penggantian Exhaust Fan Panel VSD 64M1 | Panel VSD 64M1 | E1-N01 | 245832 | 2026-02-02 | 2026-02-06 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-02-27 | 2026-02-04 |  | 22CM | 222300 | 2026-02-02 | A-A2-01-002-004 | 2210000094 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22J
20260204 | 2026-02-04 | P-22L007 | 2230004757 | Pemasangan Stop Kontak Depan Ru. SIMK |  | E1-N01 | 122916 | 2026-02-03 | 2026-02-06 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-02-04 |  | 22CM | 223200 | 2026-02-04 | A-A2-01-014-010 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20260209 | 2026-02-09 | P-22L007 | 2230004758 | Pemasangan Lampu Sorot Area Taman Pos 1 |  | E1-N01 | 245832 | 2026-02-04 | 2026-02-18 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-02-27 | 2026-02-04 |  | 22CM | 223200 | 2026-02-04 | A-A2-01-017-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20260204 | 2026-02-04 | P-22L007 | 2230004759 | Penggantian Kran KM Pria Gd Distribusi |  | S1-OS1 | 122916 | 2026-02-04 | 2026-02-06 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-02-04 |  | 22CM | 223200 | 2026-02-04 | A-A2-01-013-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22J
20260204 | 2026-02-04 | P-22L007 | 2230004760 | Perbaikan List Plafon KM Gd Distribusi |  | S1-OS1 | 122916 | 2026-02-04 | 2026-02-06 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-02-04 |  | 22CM | 223200 | 2026-02-04 | A-A2-01-013-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260213 | 2026-02-13 | P-22L007 | 2230004761 | Perbaikan Shredder Paper Ru Kadis Prod |  | E1-N01 | 245832 | 2026-02-09 | 2026-02-13 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-04-30 | 2026-02-12 |  | 22CM | 223200 | 2026-02-05 | A-A2-01-002-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20260212 | 2026-02-12 | P-22L007 | 2230004762 | Perbaikan Lampu Ru Kadis Produksi |  | E1-N01 | 122916 | 2026-02-05 | 2026-02-12 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-02-12 |  | 22CM | 223200 | 2026-02-05 | A-A2-01-002-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20260213 | 2026-02-13 | P-22L007 | 2230004763 | Perbaikan Valve Booster Continue Chlorin |  | M1-OS1 | 122916 | 2026-02-10 | 2026-02-13 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-03-31 | 2026-02-12 |  | 22CM | 222300 | 2026-02-09 | A-A2-01-003-005 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260209 | 2026-02-09 | P-22L007 | 2230004764 | Perbaikan Dinding Ruang Divisi PK |  | S1-OS1 | 184374 | 2026-02-09 | 2026-02-11 | TECO CNF PRT JBFI NMAT PRC SETC | 184374 | 2026-02-27 | 2026-02-12 |  | 22CM | 223200 | 2026-02-09 | A-A2-01-012-011 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260219 | 2026-02-19 | I-22L001 | 2230004765 | Perbaikan Suport Jalur Hypo WTP Cidanau |  | M1-OS1 | 245832 | 2026-02-12 | 2026-02-19 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-03-31 | 2026-02-12 |  | 22CM | 222300 | 2026-02-09 | A-A1-01-005-007 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260213 | 2026-02-13 | P-22L007 | 2230004766 | Pengadaan Stop kontak Ru Rapat Logistik |  | E1-N01 | 122916 | 2026-02-09 | 2026-02-13 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-02-12 |  | 22CM | 222300 | 2026-02-09 | A-A2-01-001-004 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20260209 | 2026-02-09 | P-22L007 | 2230004767 | Perb. Inlet Valve Backwash Filter 4.2 |  | M1-OS1 | 245832 | 2026-02-09 | 2026-02-12 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-02-27 | 2026-02-12 |  | 22CM | 222300 | 2026-02-09 | A-A2-01-004-004 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260209 | 2026-02-09 | P-22L007 | 2230004768 | Perbaikan Pompa Kianchem No 2 |  | M1-OS1 | 245832 | 2026-02-09 | 2026-02-16 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-02-27 | 2026-02-12 |  | 22CM | 222300 | 2026-02-09 | A-A2-01-005-005 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260210 | 2026-02-10 | P-22L007 | 2230004769 | Perbaikan Instalasi Pompa Backwash 68M1 |  | M1-OS1 | 368748 | 2026-02-06 | 2026-02-10 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-02-27 | 2026-02-12 |  | 22CM | 222300 | 2026-02-10 | A-A2-01-009-004 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260210 | 2026-02-10 | P-22L007 | 2230004770 | Perbaikan Kunci dan Laci Meja Ru SPI |  | S1-OS1 | 184374 | 2026-02-10 | 2026-02-11 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-02-27 | 2026-02-12 |  | 22CM | 223200 | 2026-02-10 | A-A2-01-014-009 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260210 | 2026-02-10 | P-22L007 | 2230004771 | Pengg. Jet Shower KM Ru Rapat Logistik |  | S1-OS1 | 184374 | 2026-02-10 | 2026-02-11 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-02-12 |  | 22CM | 223200 | 2026-02-10 | A-A2-01-017-006 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22J
20260212 | 2026-02-12 | I-22L004 | 2230004774 | Perbaikan Pompa Warga No.1 CPS |  | E1-N01 | 368748 | 2026-02-12 | 2026-02-16 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-02-27 | 2026-02-12 |  | 22CM | 222300 | 2026-02-12 | A-A1-02-006-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20260212 | 2026-02-12 | I-22L001 | 2230004775 | Perbaikan Motor 6KV 3M1 PS 1 | Motor Intake Cidanau 3M1 | E1-N01 | 59935750 | 2026-02-10 | 2026-02-12 | TECO CNF GMPS JBFI MANC PRC SETC | 59935760 | 2026-02-27 | 2026-02-12 |  | 22CM | 222300 | 2026-02-12 | A-A1-01-005-004 | 2210000436 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20260212 | 2026-02-12 | P-22L007 | 2230004776 | Perbaikan Atap Yang Retak di GIC lt.2 |  | S1-OS1 | 921870 | 2026-02-12 | 2026-02-13 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-02-27 | 2026-02-12 |  | 22CM | 223200 | 2026-02-12 | A-A2-01-015-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260212 | 2026-02-12 | P-22L007 | 2230004777 | Penggantian Kunci KM Pria dan Wanita GIC |  | S1-OS1 | 368748 | 2026-02-11 | 2026-02-13 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-02-12 |  | 22CM | 223200 | 2026-02-12 | A-A2-01-015-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22J
20260223 | 2026-02-23 | P-22L007 | 2230004778 | Instalasi Panel & Stop Kontak Charger EV |  | E1-N01 | 245832 | 2026-02-16 | 2026-02-23 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-04-30 | 2026-02-24 |  | 22CM | 223200 | 2026-02-13 | A-A2-01-017-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20260218 | 2026-02-18 | P-22L007 | 2230004779 | Perbaikan Aktuator Bak Kapur 2 | Aktuator Bak Kapur 40 | O1-N01 | 245832 | 2026-02-13 | 2026-02-18 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-03-31 | 2026-02-24 |  | 22CM | 222300 | 2026-02-18 | A-A2-01-003-004 | 2210000062 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22F
20260302 | 2026-03-02 | P-22L007 | 2230004780 | Penggantian Box Panel Turbid dan pH Acc |  | O1-N01 | 245832 | 2026-02-18 | 2026-03-04 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-03-31 | 2026-02-24 |  | 22CM | 222300 | 2026-02-18 | A-A2-01-005 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22J
20260218 | 2026-02-18 | P-22L007 | 2230004781 | Perbaikan Inlet Pipa Kianchem No 3 |  | S1-OS1 | 184374 | 2026-02-18 | 2026-02-20 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-03-31 | 2026-02-24 |  | 22CM | 222300 | 2026-02-18 | A-A2-01-005 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260225 | 2026-02-25 | I-22L004 | 2230004787 | Perbaikan Atap Flushing Duct Cipasauran |  | S1-OS1 | 368748 | 2026-02-26 | 2026-03-26 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-03-31 | 2026-02-24 |  | 22CM | 222300 | 2026-02-19 | A-A1-02-001-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260220 | 2026-02-20 | P-22L007 | 2230004788 | Perbaikan Sensor Turbidity Accelator III | Sensor Turbid ACC III | O1-N01 | 245832 | 2026-02-19 | 2026-02-20 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-03-31 | 2026-02-24 |  | 22CM | 222300 | 2026-02-19 | A-A2-01-005-003 | 2210000084 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22F
20260220 | 2026-02-20 | P-22L007 | 2230004802 | Penggantian Gate Valve GLF 2 |  | S1-OS1 | 122916 | 2026-02-20 | 2026-02-26 | TECO CNF PRT JBFI MANC NMAT PRC SETC | 122916 | 2026-03-31 | 2026-02-24 |  | 22CM | 222300 | 2026-02-20 | A-A2-01-004-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22J
20260227 | 2026-02-27 | P-22L007 | 2230004803 | Pemasangan Lampu Rumdin Jl Santani 17 |  | E1-N01 | 245832 | 2026-02-20 | 2026-02-27 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-03-31 | 2026-02-24 |  | 22CM | 223200 | 2026-02-20 | A-A2-01-017 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20260224 | 2026-02-24 | I-22L004 | 2230004804 | Perbaikan Selang Spiral Reservoir PS VII |  | M1-OS1 | 122916 | 2026-02-23 | 2026-02-27 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-03-31 | 2026-02-24 |  | 22CM | 223200 | 2026-02-20 | A-A1-02-006 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260220 | 2026-02-20 | P-22L007 | 2230004805 | Perbaikan Butterfly Valve Bak Kapur 2 |  | M1-OS1 | 122916 | 2026-02-19 | 2026-02-23 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-03-31 | 2026-02-24 |  | 22CM | 222300 | 2026-02-20 | A-A2-01-003-004 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260227 | 2026-02-27 | P-22L007 | 2230004806 | Pemasangan Talang Air Samping Ru Serikat |  | S1-OS1 | 184374 | 2026-02-23 | 2026-02-27 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-03-31 | 2026-02-24 |  | 22CM | 223200 | 2026-02-23 | A-A2-01-016-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22M
20260223 | 2026-02-23 | P-22L007 | 2230004807 | Pemasangan Bingkai SKK di Ru Sekper |  | S1-OS1 | 184374 | 2026-02-20 | 2026-02-23 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-02-24 |  | 22CM | 223200 | 2026-02-23 | A-A2-01-014-005 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22M
20260227 | 2026-02-27 | P-22L007 | 2230004812 | Pemasangan Stop Kontak Ru Inspeksi |  | O1-N01 | 245832 | 2026-02-23 | 2026-02-27 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-02-27 | 2026-02-24 |  | 22CM | 222300 | 2026-02-23 | A-A2-01-013-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22M
20260227 | 2026-02-27 | P-22L007 | 2230004813 | Penggantian Lampu Pos Keamanan 2 KRC |  | E1-N01 | 122916 | 2026-02-24 | 2026-02-27 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-04-30 | 2026-02-24 |  | 22CM | 223200 | 2026-02-24 | A-A2-01-017-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22J
20260227 | 2026-02-27 | P-22L007 | 2230004814 | Perbaikan Kontrol VSD Motor Pompa 61M1 | Pompa 61M1 | O1-N01 | 245832 | 2026-02-23 | 2026-02-27 | TECO CNF PRT JBFI NMAT PRC SETC | 553122 | 2026-03-31 | 2026-02-24 |  | 22CM | 222300 | 2026-02-24 | A-A2-01-007-001 | 2210000378 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22F
20260227 | 2026-02-27 | I-22L003 | 2230004815 | Penggantian Lampu Sorot Spillway Waduk |  | E1-N01 | 245832 | 2026-02-27 | 2026-03-13 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-03-31 | 2026-02-24 |  | 22CM | 222300 | 2026-02-24 | A-A1-03-001-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22J
20260227 | 2026-02-27 | P-22L007 | 2230004816 | Penggantian Kran Wastafel Pantry GTG |  | S1-OS1 | 184374 | 2026-02-24 | 2026-02-27 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-03-31 | 2026-02-24 |  | 22CM | 223200 | 2026-02-24 | A-A2-01-014 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22J
20260227 | 2026-02-27 | P-22L007 | 2230004817 | Perbaikan Pipa Air Bersih Jalur Gd PU |  | S1-OS1 | 921870 | 2026-02-24 | 2026-02-27 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-03-31 | 2026-03-03 |  | 22CM | 223200 | 2026-02-26 | A-A2-01-012 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260303 | 2026-03-03 | P-22L007 | 2230004818 | Pemindahan Jalur Pipa Area Pos Keamanan |  | S1-OS1 | 921870 | 2026-02-26 | 2026-03-05 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-03-31 | 2026-03-03 |  | 22CM | 223200 | 2026-02-26 | A-A2-01-017-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22G
20260226 | 2026-02-26 | P-22L007 | 2230004819 | Perbaikan Kran KM Pria Lt 2 Gd Produksi |  | S1-OS1 | 184374 | 2026-02-25 | 2026-02-27 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-03-31 | 2026-03-03 |  | 22CM | 222300 | 2026-02-26 | A-A2-01-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260227 | 2026-02-27 | P-22L007 | 2230004820 | Penggantian Diaphragm Valve Shock Klorin |  | M1-OS1 | 23222832 | 2026-02-27 | 2026-03-02 | TECO CNF PRT GMPS JBFI MANC PRC SETC | 23345748 | 2026-03-31 | 2026-02-27 |  | 22CM | 222300 | 2026-02-27 | A-A2-01-003-005 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22J
20260228 | 2026-02-28 | P-22L007 | 2230004821 | Perbaikan Rambu-Rambu Area Terbatas |  | M1-OS1 | 368748 | 2026-02-27 | 2026-03-13 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-03-31 | 2026-03-03 |  | 22CM | 222300 | 2026-02-27 | A-A2-01-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260302 | 2026-03-02 | P-22L007 | 2230004822 | Perb. Instalasi Safety Shower Gd Alum |  | S1-OS1 | 184374 | 2026-02-23 | 2026-03-05 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-03-31 | 2026-03-03 |  | 22CM | 222300 | 2026-02-27 | A-A2-01-003-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260227 | 2026-02-27 | P-22L007 | 2230004823 | Pemasangan Power Stop Kontak Jam Digital |  | E1-N01 | 122916 | 2026-02-27 | 2026-03-02 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-03-31 | 2026-03-03 |  | 22CM | 223200 | 2026-02-27 | A-A2-01-013-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20260303 | 2026-03-03 | P-22L007 | 2230004824 | Perb. Solenoid Valve Inlet Filter 5.2 | Solenoid valve Cell 5.2 | O1-N01 | 245832 | 2026-02-27 | 2026-03-03 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-03-31 | 2026-03-03 |  | 22CM | 222300 | 2026-03-02 | A-A2-01-004-005 | 2210000184 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22F
20260303 | 2026-03-03 | P-22L007 | 2230004825 | Perbaikan Instalasi chlorinator | Shock Chlorinator | M1-OS1 | 8582748 | 2026-03-03 | 2026-03-04 | TECO CNF PRT GMPS JBFI MANC PRC SETC | 8582748 | 2026-04-30 | 2026-03-06 |  | 22CM | 222300 | 2026-03-03 | A-A2-01-003-005 | 2210000037 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260302 | 2026-03-02 | P-22L007 | 2230004826 | Perbaikan Lampu Bridge Acc II | Bridge Scrapper Accelator II | E1-N01 | 245832 | 2026-03-03 | 2026-03-09 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-04-30 | 2026-03-11 |  | 22CM | 222300 | 2026-03-03 | A-A2-01-005-002 | 2210000145 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22F
20260304 | 2026-03-04 | P-22L007 | 2230004828 | Perbaikan Talang Air Pos Keamanan 1 |  | S1-OS1 | 184374 | 2026-03-04 | 2026-03-06 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-03-31 | 2026-03-11 |  | 22CM | 223200 | 2026-03-03 | A-A2-01-017-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260309 | 2026-03-09 |  | 2230004829 | Penambahan Instalasi Kran Area Taman KTI |  | S1-OS1 | 368748 | 2026-03-10 | 2026-03-13 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-03-31 | 2026-03-11 |  | 22CM | 222300 | 2026-03-04 | A |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22M
20260304 | 2026-03-04 | P-22L007 | 2230004830 | Perbaikan Engsel Pintu KM Gedung PU Lt.1 |  | S1-OS1 | 184374 | 2026-03-03 | 2026-03-04 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-03-31 | 2026-03-11 |  | 22CM | 223200 | 2026-03-04 | A-A2-01-012 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260304 | 2026-03-04 | P-22L007 | 2230004831 | Perapihan Dinding Ru Kerja Divisi MK |  | S1-OS1 | 184374 | 2026-03-05 | 2026-03-10 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-03-31 | 2026-03-11 |  | 22CM | 223200 | 2026-03-04 | A-A2-01-016-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22B
20260309 | 2026-03-09 | P-22L007 | 2230004834 | Perbaikan Jalur Taping P.Gauge ACC III |  | M1-OS1 | 245832 | 2026-03-06 | 2026-03-09 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-04-30 | 2026-03-11 |  | 22CM | 222300 | 2026-03-09 | A-A2-01-005-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22F
20260312 | 2026-03-12 | P-22L007 | 2230004836 | Perbaikan Outlet Tanki Kapur |  | M1-OS1 | 245833 | 2026-03-10 | 2026-03-13 | TECO CNF PRT GMPS JBFI MANC PRC SETC | 245833 | 2026-04-30 | 2026-03-11 |  | 22CM | 222300 | 2026-03-10 | A-A2-01-003-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260310 | 2026-03-10 | P-22L007 | 2230004837 | Perbaikan Pipa Sampling Air Kanal GLF |  | S1-OS1 | 368748 | 2026-03-10 | 2026-03-11 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-04-30 | 2026-03-11 |  | 22CM | 222300 | 2026-03-10 | A-A2-01-005-005 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260310 | 2026-03-10 | P-22L007 | 2230004838 | Perbaikan Pintu Ruang Dinas Logistik |  | S1-OS1 | 184374 | 2026-03-10 | 2026-03-11 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-03-31 | 2026-03-11 |  | 22CM | 223200 | 2026-03-10 | A-A2-01-012-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260401 | 2026-04-01 | I-22L001 | 2230004839 | Perbaikan Toilet Lt 1 dan 2 WTP Cidanau |  | S1-OS1 | 553122 | 2026-03-13 | 2026-04-02 | TECO CNF PRT JBFI NMAT PRC SETC | 553122 | 2026-04-30 | 2026-03-17 |  | 22CM | 222300 | 2026-03-12 | A-A1-01-005-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260312 | 2026-03-12 | P-22L007 | 2230004840 | Penggantian Kran Wudhu Toilet Produksi |  | S1-OS1 | 184374 | 2026-03-11 | 2026-03-13 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-04-30 | 2026-03-17 |  | 22CM | 222300 | 2026-03-12 | A-A2-01-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22J
20260317 | 2026-03-17 | P-22L007 | 2230004841 | Pemasangan Power Saklar Water Meter |  | E1-N01 | 122916 | 2026-03-12 | 2026-03-17 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-04-30 | 2026-03-17 |  | 22CM | 222300 | 2026-03-12 | A-A2-01-006 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20260316 | 2026-03-16 | P-22L007 | 2230004843 | Res.Spare Perbaikan Pompa Alum 31M1 | Pompa Alum Sulfat 31M1 | M1-OS1 | 64251207 | 2026-03-13 | 2026-03-17 | TECO CNF PRT GMPS JBFI MANC PRC SETC | 64251207 | 2026-04-30 | 2026-03-17 |  | 22CM | 222300 | 2026-03-13 | A-A2-01-003-001 | 2210000005 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22J
20260316 | 2026-03-16 | P-22L007 | 2230004844 | Pemasangan Stop Kontak AC Standing |  | E1-N01 | 245832 | 2026-03-13 | 2026-03-16 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-04-30 | 2026-03-17 |  | 22CM | 223200 | 2026-03-16 | A-A2-01-014 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20260317 | 2026-03-17 | P-22L006 | 2230004845 | Perbaikan Flexible Joint Pompa Chlorine |  | M1-OS1 | 245832 | 2026-03-16 | 2026-03-20 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-04-30 | 2026-03-17 |  | 22CM | 222300 | 2026-03-16 | A-A2-03-010 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260325 | 2026-03-25 | P-22L007 | 2230004846 | Perbaikan Kebocoran Tanki Kianchem |  | S1-OS1 | 245834 | 2026-03-17 | 2026-03-26 | TECO CNF GMPS JBFI MANC PPRT PRC SETC | 245834 | 2026-04-30 | 2026-03-17 |  | 22CM | 222300 | 2026-03-17 | A-A2-01-005-006 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260327 | 2026-03-27 | P-22L007 | 2230004847 | Pembuatan Rambu-Rambu Parkir |  | M1-OS1 | 368748 | 2026-03-17 | 2026-03-26 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-04-30 | 2026-03-17 |  | 22CM | 223200 | 2026-03-17 | A-A2-01-017-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22M
20260327 | 2026-03-27 | I-22L003 | 2230004852 | Penggantian Kran KM Pos Keamanan Waduk |  | S1-OS1 | 122916 | 2026-03-30 | 2026-03-31 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-04-30 | 2026-03-31 |  | 22CM | 223200 | 2026-03-27 | A-A1-03-004-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22J
20260327 | 2026-03-27 | P-22L007 | 2230004853 | Pemasangan Kran Wudhu Portable Area GIC |  | S1-OS1 | 245832 | 2026-03-31 | 2026-04-02 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-04-30 | 2026-03-31 |  | 22CM | 223200 | 2026-03-27 | A-A2-01-015 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22M
20260410 | 2026-04-10 | P-22L007 | 2230004854 | Penggantian Penutup TPS Plant Krenceng |  | M1-OS1 | 553122 | 2026-04-02 | 2026-04-10 | TECO CNF PRT JBFI NMAT PRC SETC | 553122 | 2026-04-30 | 2026-03-31 |  | 22CM | 223200 | 2026-03-27 | A-A2-01-017 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22J
20260330 | 2026-03-30 | P-22L007 | 2230004856 | Pemindahan Toa Masjid Ke Area GIC |  | E1-N01 | 245832 | 2026-03-26 | 2026-03-30 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-04-30 | 2026-03-31 |  | 22CM | 223200 | 2026-03-30 | A-A2-01-015-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20260330 | 2026-03-30 | P-22L007 | 2230004857 | Perbaikan Pompa Kapur 38M1 | Pompa Kapur 38M1 | M1-OS1 | 27329832 | 2026-03-31 | 2026-04-08 | TECO CNF PRT GMPS JBFI MANC PRC SETC | 27329832 | 2026-04-30 | 2026-03-31 |  | 22CM | 222300 | 2026-03-30 | A-A2-01-003-001 | 2210000022 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260331 | 2026-03-31 | P-22L007 | 2230004858 | Perbaikan Keramik Tangga GIC Lt.2 |  | S1-OS1 | 245832 | 2026-03-30 | 2026-03-31 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-04-30 | 2026-03-31 |  | 22CM | 223200 | 2026-03-31 | A-A2-01-015-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260407 | 2026-04-07 | P-22L006 | 2230004859 | Penambahan P. Asahimas di Scada WTP CDN |  | O1-N01 | 245832 | 2026-03-31 | 2026-04-07 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-04-30 | 2026-03-31 |  | 22CM | 222300 | 2026-03-31 | A-A2-03 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22M
20260401 | 2026-04-01 | P-22L007 | 2230004860 | Penggantian Flexible Botol Chlorine | Instalasi Botol Chlorine | M1-OS1 | 5006916 | 2026-03-31 | 2026-04-01 | TECO CNF PRT GMPS JBFI MANC PRC SETC | 5129832 | 2026-04-30 | 2026-03-31 |  | 22CM | 222300 | 2026-03-31 | A-A2-01-003-006 | 2210000046 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22J
20260408 | 2026-04-08 | P-22L007 | 2230004862 | Pemasangan Stop Kontak Ru.Div MK |  | E1-N01 | 245832 | 2026-04-07 | 2026-04-10 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-04-30 | 2026-04-07 |  | 22CM | 223200 | 2026-04-02 | A-A2-01-016-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20260406 | 2026-04-06 | P-22L007 | 2230004867 | Perbaikan Pompa Alum 31M1 | Pompa Alum Sulfat 31M1 | M1-OS1 | 1219857 | 2026-04-08 | 2026-04-13 | TECO CNF PRT GMPS JBFI MANC PRC SETC | 1465689 | 2026-04-30 | 2026-04-07 |  | 22CM | 222300 | 2026-04-06 | A-A2-01-003-001 | 2210000005 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260407 | 2026-04-07 | P-22L007 | 2230004868 | Perbaikan Inst.Air bersih Area Kolam GEC |  | S1-OS1 | 245832 | 2026-04-07 | 2026-04-08 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-04-30 | 2026-04-07 |  | 22CM | 223200 | 2026-04-06 | A-A2-01-016 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260408 | 2026-04-08 | P-22L006 | 2230004869 | Penggantian Kran Sample Air Bersih WCD |  | S1-OS1 | 122916 | 2026-04-08 | 2026-04-10 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-04-30 | 2026-04-07 |  | 22CM | 223200 | 2026-04-06 | A-A2-03-007 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22J
20260408 | 2026-04-08 | P-22L006 | 2230004870 | Perbaikan Toilet K.Mandi Lt.2 WTP CDN |  | S1-OS1 | 368748 | 2026-04-08 | 2026-04-14 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-04-30 | 2026-04-07 |  | 22CM | 223200 | 2026-04-07 | A-A2-03-007 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260408 | 2026-04-08 | P-22L006 | 2230004871 | Pemasangan Bracket TV C.Room WTP CDN |  | S1-OS1 | 122916 | 2026-04-08 | 2026-04-14 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-04-30 | 2026-04-07 |  | 22CM | 223200 | 2026-04-07 | A-A2-03-007 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22M
20260408 | 2026-04-08 | P-22L006 | 2230004872 | Perbaikan Handle Pintu K.Mandi WTP CDN |  | S1-OS1 | 122916 | 2026-04-08 | 2026-04-14 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-04-30 | 2026-04-07 |  | 22CM | 223200 | 2026-04-07 | A-A2-03-007 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260408 | 2026-04-08 | P-22L007 | 2230004875 | Pembuatan Stop Kontak AC Divisi MK |  | E1-N01 | 245832 | 2026-04-08 | 2026-04-15 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-04-30 | 2026-04-08 |  | 22CM | 223200 | 2026-04-08 | A-A2-01-016-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 222 | 22M
20260424 | 2026-04-24 |  | 2230004877 | Perb. Pintu Ru Venting Kp. Samang Raya | Rumah Venting Semang Raya | M1-OS1 | 368748 | 2026-04-10 | 2026-04-24 | TECO CNF PRT JBFI NMAT PRC SETC | 368748 | 2026-04-30 | 2026-04-15 |  | 22CM | 222300 | 2026-04-08 |  | 2210000627 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 221 | 22F
20260409 | 2026-04-09 | P-22L006 | 2230004882 | Penggantian Kran K.Mandi Lt.2 WTP CDN |  | S1-OS1 | 245832 | 2026-04-10 | 2026-04-14 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-04-30 | 2026-04-15 |  | 22CM | 223200 | 2026-04-09 | A-A2-03-014 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22J
20260414 | 2026-04-14 | P-22L007 | 2230004887 | Pembongkaran Safety Shower Area Gd Alum |  | S1-OS1 | 122916 | 2026-04-13 | 2026-04-15 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-04-30 | 2026-04-15 |  | 22CM | 222300 | 2026-04-13 | A-A2-01-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22L
20260410 | 2026-04-10 | P-22L007 | 2230004888 | Penggantian Meja Kerja Ruang Inspeksi |  | S1-OS1 | 307290 | 2026-04-09 | 2026-04-13 | TECO CNF PRT JBFI NMAT PRC SETC | 122916 | 2026-04-30 | 2026-04-15 |  | 22CM | 222300 | 2026-04-13 | A-A2-01-013-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22J
20260413 | 2026-04-13 | P-22L007 | 2230004889 | Pemindahan Jalur Pipa Pos Keamanan 1 |  | S1-OS1 | 368748 | 2026-04-09 | 2026-04-13 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-04-30 | 2026-04-15 |  | 22CM | 223200 | 2026-04-13 | A-A2-01-017-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22L
20260414 | 2026-04-14 | P-22L007 | 2230004893 | Penggantian Pipa Air Bersih Ru Driver |  | S1-OS1 | 1106244 | 2026-04-07 | 2026-04-14 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-04-30 | 2026-04-15 |  | 22CM | 223200 | 2026-04-14 | A-A2-01-017-003 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22J
20260417 | 2026-04-17 | P-22L007 | 2230004898 | Perbaikan Pintu Kaca Ru Divisi Keuangan |  | S1-OS1 | 245832 | 2026-04-17 | 2026-04-22 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-04-30 | 2026-04-17 |  | 22CM | 223200 | 2026-04-17 | A-A2-01-014-002 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260417 | 2026-04-17 | P-22L006 | 2230004900 | Perbaikan Level Reservoir WTP Cidanau | Sensor Level Reservoir PS VIII | O1-N01 | 245832 | 2026-04-16 | 2026-04-17 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-04-30 | 2026-04-17 |  | 22CM | 222300 | 2026-04-17 | A-A2-03-006-002 | 2210000506 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22F
20260424 | 2026-04-24 | P-22L007 | 2230004903 | Perbaikan Plafon GIC Lt.1 |  | S1-OS1 | 184374 | 2026-04-21 | 2026-04-24 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-04-30 | 2026-04-21 |  | 22CM | 223200 | 2026-04-20 | A-A2-01-015-001 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 223 | 22F
20260424 | 2026-04-24 | P-22L006 | 2230004904 | Perbaikan Kabel Flowmeter Filter WTP CDN |  | O1-N01 | 245832 | 2026-04-21 | 2026-04-24 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-04-30 | 2026-04-21 |  | 22CM | 222300 | 2026-04-20 | A-A2-03 |  | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22F
20260427 | 2026-04-27 | I-22L003 | 2230004905 | Kalibrasi Transmitter Level Waduk | Sensor Level Waduk | O1-N01 | 245832 | 2026-04-21 | 2026-04-27 | TECO CNF PRT JBFI NMAT PRC SETC | 245832 | 2026-04-30 | 2026-04-21 |  | 22CM | 222300 | 2026-04-20 | A-A1-03-001-001 | 2210002907 | KTI1 | SE1 | 22GRP-EQPT | 22GRP-EQPT |  |  |  |  | 224 | 22D