## Sheet1
Equipment List & Specification
PT.Krakatau Tirta Industri
Plant : PS I Cidanau
No | Equipment Code | Desription Of Tech.Object | Plant Code | Plant Section | ABC Indicator | Cost Center | Planning Plant | Planner Group | Maint.Work Center | Func.Location | Ser.Number | Manufacturer | Model Number
1 | 2210000238 | Crane PS I (C1) | I-22L001 | Div.PPHSE | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005-004 | 818741184 | KULI Helmut Kempkes | KULI (10T/ 1975)
2 | 2210000239 | Crane Chlorine Cidanau (C2) | I-22L001 | Div.PPHSE | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005-006 | 11120968 | Krisbow | KW051622 (2T)
3 | 2210000434 | Motor Intake Cidanau 1M1 | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005-004 |  | Siemens | 1 RS 5562 B3
4 | 2210000435 | Motor Intake Cidanau 2M1 | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005-004 |  | Siemens | 1 RS 5562 B3
5 | 2210000436 | Motor Intake Cidanau 3M1 | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005-004 |  | Siemens | 1 RS 5562 B3
6 | 2210000437 | Motor Intake Cidanau 4M1 | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005-004 |  | Siemens | 1 RS 5562 B3
7 | 2210000438 | Pompa Intake Cidanau 1M1 | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 221 | M1-N01 | A-A1-01-005-004 |  | KSB Germany | RDL 500 - 790
8 | 2210000439 | Pompa Intake Cidanau 2M1 | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 221 | M1-N01 | A-A1-01-005-004 |  | KSB Germany | RDL 500 - 790
9 | 2210000440 | Pompa Intake Cidanau 3M1 | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 221 | M1-N01 | A-A1-01-005-004 |  | KSB Germany | RDL 500 - 790
10 | 2210000441 | Pompa Intake Cidanau 4M1 | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 221 | M1-N01 | A-A1-01-005-004 |  | KSB Germany | RDL 500 - 790
11 | 2210000442 | Instalasi Pompa Intake Cidanau 1M1 | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 221 | M1-N01 | A-A1-01-005-004
12 | 2210000443 | Instalasi Pompa Intake Cidanau 2M1 | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 221 | M1-N01 | A-A1-01-005-004
13 | 2210000444 | Instalasi Pompa Intake Cidanau 3M1 | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 221 | M1-N01 | A-A1-01-005-004
14 | 2210000445 | Instalasi Pompa Intake Cidanau 4M1 | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 221 | M1-N01 | A-A1-01-005-004
15 | 2210000447 | Gate Sand Trap Cidanau | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 221 | M1-N01 | A-A1-01-002
16 | 2210000448 | Gate Sump Pump Cidanau | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 221 | M1-N01 | A-A1-01-003
17 | 2210000449 | Pompa Booster Clorine Cidanau | I-22L001 | Div.PPHSE | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-01-005-006
18 | 2210000450 | Instalasi Clorine Cidanau | I-22L001 | Div.PPHSE | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-01-005-006
19 | 2210000451 | Pompa Sump Pump Cidanau | I-22L001 | Div.PPHSE | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-01-005-004
20 | 2210000452 | WTP Mini Cidanau | I-22L001 | Div.PPHSE | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-01-005-007
21 | 2210000453 | Instalasi Sodium Hypoclorite PS I | I-22L001 | Div.PPHSE | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-01-005-005
22 | 2210000605 | Sensor AWLR | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 224 | O1-N01 | A-A1-01-001
23 | 2210000640 | Panel Katodik Cidanau I | I-22L001 | Div.PPHSE | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005
24 | 2210000644 | pH meter Cidanau | I-22L001 | Div.PPHSE | B | 222300 | KTI1 | 224 | O1-N01 | A-A1-01-003-001
25 | 2210000645 | Turbidity Cidanau | I-22L001 | Div.PPHSE | B | 222300 | KTI1 | 224 | O1-N01 | A-A1-01-003-001
26 | 2210000647 | Ext. Grounding PS I Cidanau | I-22L001 | Div.PPHSE | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005
27 | 2210000648 | PLC Horner Cidanau | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 224 | O1-N01 | A-A1-01-005-003
28 | 2210000651 | Transformator BT 01 | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-004-001
29 | 2210000652 | Transformator BT 02 | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-004-002
30 | 2210000668 | Panel Katodik Cidanau II | I-22L001 | Div.PPHSE | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005
31 | 2210000669 | Panel Katodik Cigading | I-22L001 | Div.PPHSE | B | 222300 | KTI1 | 222 | E1-N01 | A-A3-04-002-003
32 | 2210000705 | Motor DC Intake Cidanau 1 | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005-004 | 674490 | Siemens | I GA 3 451
33 | 2210000706 | Motor DC Intake Cidanau 2 | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005-004 | 674491 | Siemens | I GA 3 451
34 | 2210000707 | Motor DC Intake Cidanau 3 | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005-004 | 574492 | Siemens | I GA 3 451
35 | 2210002852 | Flowmeter Air Baku PS I Cidanau (FL 09) | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005-004
36 | 2210002856 | Instalasi Penerangan Gd.Area Cidanau | I-22L001 | Div.PPHSE | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005
37 | 2210002959 | Motor Hypochlorite PS I | I-22L001 | Div.PPHSE | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005-005
38 | 2210002972 | MV-Main Control Cabinet | I-22L001 | Div.PPHSE | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005-001
39 | 2210002987 | MV-Controller Cabinet | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005-001
40 | 2210002988 | MV-CT Cabinet | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005-001
41 | 2210002989 | MV-Incoming Section | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005-001
42 | 2210002990 | MV-Outgoing Pump | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-005-001
43 | 2210002997 | SCADA PS I Cidanau | I-22L001 | Div.PPHSE | B | 222300 | KTI1 | 224 | O1-N01 | A-A1-01-005-003
44 | 2210002999 | Flowmeter Sandtrap PS I | I-22L001 | Div.PPHSE | B | 222300 | KTI1 | 224 | O1-N01 | A-A1-01-002
45 | 2210003080 | Panel Cap.Bank PS I | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-004-003
46 | 2210000649 | Transformator AX 01 | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-004-001 | 6430452102 | SCHORCH |  | 2022
47 | 2210000650 | Transformator AX 02 | I-22L001 | Div.PPHSE | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-01-004-002 |  | SCHORCH |  | 2022
Plant : WTP Cidanau
No | Equipment Code | Desription Of Tech.Object | Plant Code | Plant Section | ABC Indicator | Cost Center | Planning Plant | Planner Group | Maint.Work Center | Func.Location | Ser.Number | Manufacturer | Model Number | Man.Part No | Constr.Year
1 | 2210000532 | Impellar Kapur 312M2 | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-009-001 |  | YUEMA | G3FS 22 10-40 | 111055 | 2016
2 | 2210000534 | Impellar Kapur 313M2 | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-009-001 |  | YUEMA | G3FS 22 10-40 | 111055 | 2016
3 | 2210000539 | Motor Mixing Polymer 314M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-009-002 |  | YUEMA | G3FS 22 10-40 | 111055 | 2016
4 | 2210000540 | Motor Mixing Polymer 315M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-009-002 |  | YUEMA | G3FS 22 10-40 | 111055 | 2016
5 | 2210000320 | Panel DCS WCD | P-22L006 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-007 | C2SG0222OC | YOKOGAWA CENTUM VP | ANB10D |  | 2016
6 | 2210000523 | Panel VSD Pompa 700M1 | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016 | J015YG334410002 | YASKAWA E-1000 | CIMR-ET4A0414AAA |  | 2018
7 | 2210000525 | Panel VSD Pompa 701M1 | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016 |  | YASKAWA E-1000 | CIMR-ET4A0414AAA |  | 2018
8 | 2210000527 | Panel VSD Pompa 702M1 | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016 |  | YASKAWA E-1000 | CIMR-ET4A0414AAA |  | 2018
9 | 2210000529 | Panel VSD Pompa 703M1 | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016 |  | YASKAWA E-1000 | CIMR-ET4A0414AAA |  | 2018
10 | 2210000677 | Pompa Dossing 303M1 CaO (Kapur) WTP Cida | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-009 | 16085177 | TACMINA | ZD1-34-VTCF-FWX |  | 2016
11 | 2210000678 | Pompa Dossing 304M1 CaO (Kapur) WTP Cida | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-009 | 16085177 | TACMINA | ZD1-34-VTCF-FWX |  | 2016
12 | 2210000681 | Pompa Dossing 305M1 Hypochlorite WTP Cid | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-009 | 18900842 | TACMINA | ZD1-34-VTCF-FWX |  | 2016
13 | 2210000682 | Pompa Dossing 306M1 Hypochlorite WTP Cid | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-009 | 18900842 | TACMINA | ZD1-34-VTCF-FWX |  | 2016
14 | 2210000685 | Pompa Dossing Alumsulfat 300M1 WTP Cidan | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-009 | 16085176 | TACMINA | ZD1-34-VTCF-FWX |  | 2016
15 | 2210000686 | Pompa Dossing Alumsulfat 301M1 WTP Cidan | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-009 | 16085176 | TACMINA | ZD1-34-VTCF-FWX |  | 2016
16 | 2210000687 | Pompa Dossing Alumsulfat 302M1 WTP Cidan | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-009 | 16085176 | TACMINA | ZD1-34-VTCF-FWX |  | 2016
17 | 2210000691 | Pompa Polymer 316M1 WTP Cidanau | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-009-002 | 1608N069 | TACMINA | CS II-600-VTCF-HW |  | 2016
18 | 2210000692 | Pompa Polymer 317M1 WTP Cidanau | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-009-002 |  | TACMINA | CS II-600-VTCF-HW |  | 2016
19 | 2210000316 | Genset Perkin 1250 kVA WTP Cidanau | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-011 | TP1375T16010122 | Perkin | TP1375T |  | 2018
20 | 2210000501 | Pompa Distribusi 700M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-006-001 | 049-1605087-005 | Omega KSB | 200-520 A GB PF
21 | 2210000502 | Pompa Distribusi 701M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-006-001 | 049-1605087-004 | Omega KSB | 200-520 A GB PF
22 | 2210000503 | Pompa Distribusi 702M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-006-001 | 049-1605087-006 | Omega KSB | 200-520 A GB PF
23 | 2210000504 | Pompa Distribusi 703M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-006-001 | 049-1605087-007 | Omega KSB | 200-520 A GB PF
24 | 2210002842 | SCM WTP Cidanau | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-015 |  | Micro T SCM |  |  | 2018
25 | 2210000244 | Crane PS VIII (C12) | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-006-001 |  | MHE | MHE DEMAG | 570=A01-1697-1016 | 2018
26 | 2210000491 | Panel VSD Dosing WCD | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-010 |  | Fuji Electric | Frenic-Mini |  | 2016
27 | 2210003088 | Sensor pH WCD | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-015 | C2SA06509 | Flexa | FLXa21 | C2SA0455 | 2016
28 | 2210000674 | Kompressor 307M1 WTP Cidanau | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-009 | SC10284591001/2016 | Elmo Rietschle | C-DLR 301
29 | 2210000675 | Kompressor 308M12 WTP Cidanau | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-009 | SC10284591002/2016 | Elmo Rietschle | C-DLR 301
30 | 2210000676 | Kompressor 309M1 WTP Cidanau | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-009 | SC10284591003/2016 | Elmo Rietschle | C-DLR 301
31 | 2210000531 | Motor Mixing Kapur 312M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-009-001 | 1604L730271 | Electric Motor | TAL7214 |  | 2016
32 | 2210000533 | Motor Mixing Kapur 313M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-009-001 | 1604L730271 | Electric Motor | TAL7214 |  | 2016
33 | 2210000339 | Aktuator Floc 400M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-003 |  | AUMA | VW00063-4-0.04 |  | 2016 | Rusak
34 | 2210000340 | Aktuator Floc 401M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-003 |  | AUMA | VW00063-4-0.04 |  | 2016 | Rusak
35 | 2210000341 | Aktuator Floc 402M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-003 |  | AUMA | VW00063-4-0.04 |  | 2016 | Rusak
36 | 2210000342 | Aktuator Floc 403M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-003 |  | AUMA | VW00063-4-0.04 |  | 2016 | Rusak
37 | 2210000343 | Aktuator Floc 404M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-003 |  | AUMA | VW00063-4-0.04 |  | 2016 | Rusak
38 | 2210000339 | Aktuator Floc 405M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-003 |  | AUMA | VW00063-4-0.04 |  | 2016 | Rusak
39 | 2210000347 | Aktuator Sediment 504M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-004-001 | 4716NM23912 | AUMA | VW00063-4-0.04 |  | 2016 | Rusak
40 | 2210000348 | Aktuator Sediment 505M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-004-001 |  | AUMA | VW00063-4-0.04 |  | 2016 | Rusak
41 | 2210000349 | Aktuator Sediment 506M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-004-001 |  | AUMA | VW00063-4-0.04 |  | 2016 | Rusak
42 | 2210000350 | Aktuator Sediment 507M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-004-002 |  | AUMA | VW00063-4-0.04 |  | 2016 | Rusak
43 | 2210000351 | Aktuator Sediment 508M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-004-002 |  | AUMA | VW00063-4-0.04 |  | 2016 | Rusak
44 | 2210000352 | Aktuator Sediment 509M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-004-002 |  | AUMA | VW00063-4-0.04 |  | 2016 | Rusak
45 | 2210000353 | Aktuator Sediment 510M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-004-003 |  | AUMA | VW00063-4-0.04 |  | 2016 | Rusak
46 | 2210000354 | Aktuator Sediment 511M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-004-003 |  | AUMA | VW00063-4-0.04 |  | 2016 | Rusak
47 | 2210000355 | Aktuator Sediment 512M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-004-003 |  | AUMA | VW00063-4-0.04 |  | 2016 | Rusak
48 | 2210000356 | Aktuator Sediment 513M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-004-004 |  | AUMA | VW00063-4-0.04 |  | 2016 | Rusak
49 | 2210000357 | Aktuator Sediment 514M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-004-004 |  | AUMA | VW00063-4-0.04 |  | 2016 | Rusak
50 | 2210000358 | Aktuator Sediment 515M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-004-004 |  | AUMA | VW00063-4-0.04 |  | 2016 | Rusak
51 | 2210000497 | Motor Distribusi 700M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-006-001 | 3G1F1630350822 | ABB | M3BP 355SMA 4 IMB3/I
52 | 2210000498 | Motor Distribusi 701M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-006-001 | 3G1F1630350824 | ABB | M3BP 355SMA 4 IMB3/I
53 | 2210000499 | Motor Distribusi 702M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-006-001 | 3G1F1630350823 | ABB | M3BP 355SMA 4 IMB3/I
54 | 2210000500 | Motor Distribusi 703M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-006-001 | 3G1F1630350821 | ABB | M3BP 355SMA 4 IMB3/I
55 | 2210000314 | Transformer LV WCD | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-008 | 131305079 | Trafoindo
56 | 2210000315 | Panel Power PP-GR | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-011
57 | 2210000316 | Genset Perkin 1250 kVA WTP Cidanau | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-011 | TP1375T16010122 | Perkin | TP1375T |  | 2018
58 | 2210000317 | Tangki Solar 500 | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-011
59 | 2210000318 | Tangki Solar 5000 | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-011
60 | 2210000319 | Panel Pompa Solar | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-011
61 | 2210000321 | PC EWS WCD | P-22L006 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-007
62 | 2210000322 | PC PM WCD | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-007
63 | 2210000323 | PC Information | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-007
64 | 2210000324 | Slide Gate 1 | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-001
65 | 2210000325 | Slide Gate 2 | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-001
66 | 2210000326 | Level Sensor SLD Basin | P-22L006 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-012
67 | 2210000327 | Manhole SLD Basin | P-22L006 | SE1 | B | 222300 | KTI1 | 223 | S1-N01 | A-A2-03-012
68 | 2210000328 | Panel Pompa SLD Basin | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-012
69 | 2210000329 | Pompa SLD Basin 1 | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-012
70 | 2210000330 | Pompa SLD Basin 2 | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-012
81 | 2210000359 | Panel Dyna Sand 1 | P-22L006 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-005-001
82 | 2210000360 | Panel Dyna Sand 2 | P-22L006 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-005-002
83 | 2210000361 | Panel Dyna Sand 3 | P-22L006 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-005-003
84 | 2210000362 | Panel Dyna Sand 4 | P-22L006 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-005-004
85 | 2210000363 | Panel Dyna Sand 5 | P-22L006 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-005-005
86 | 2210000364 | Panel Dyna Sand 6 | P-22L006 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-005-006
87 | 2210000468 | Aktuator Filter 600M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-005-001
88 | 2210000469 | Aktuator Filter 601M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-005-002
89 | 2210000470 | Aktuator Filter 602M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-005-003
90 | 2210000471 | Aktuator Filter 603M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-005-004
91 | 2210000472 | Aktuator Filter 604M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-005-005
92 | 2210000473 | Aktuator Filter 605M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-005-006
100 | 2210000481 | Motor Kompresor 307M1 | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-010
101 | 2210000482 | Motor Kompresor 308M1 | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-010
102 | 2210000483 | Motor Kompresor 309M1 | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-010
103 | 2210000484 | Motor Hypo 305M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-010
104 | 2210000485 | Motor Hypo 306M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-010
105 | 2210000486 | Motor Kapur 303M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-010
106 | 2210000487 | Motor Kapur 304M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-010
107 | 2210000488 | Motor Alum 300M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-010
108 | 2210000489 | Motor Alum 301M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-010
109 | 2210000490 | Motor Alum 302M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-010
112 | 2210000494 | Flowmeter PS VIII (FL 07) | P-22L006 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-006
114 | 2210000496 | Chlorine Analyzer WCD | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-006-001
116 | 2210000506 | Sensor Level Reservoir PS VIII | P-22L006 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-006-002
121 | 2210000511 | Panel Capacitor 12 x 50kVar | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016
122 | 2210000512 | Panel Kontrol Genset | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016
123 | 2210000513 | Panel Rectifier 110 WCD | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016
124 | 2210000514 | Panel Incoming | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016
125 | 2210000515 | Panel Incoming Genset | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016
126 | 2210000516 | Panel MCC Pompa | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016
127 | 2210000517 | Panel Cap.Bank 600 kVAr | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016
128 | 2210000518 | Panel Feeder-1 | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016
129 | 2210000519 | Panel Feeder-2 | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016
130 | 2210000520 | Panel Trafo 20 kV | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016
131 | 2210000521 | Panel Incoming Pompa | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016
132 | 2210000522 | Panel Power Pompa 700M1 | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016
133 | 2210000524 | Panel Power Pompa 701M1 | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016
134 | 2210000526 | Panel Power Pompa 702M1 | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016
135 | 2210000528 | Panel Power Pompa 703M1 | P-22L006 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016
137 | 2210000535 | Motor Mixing Alum 310M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-009-001
138 | 2210000536 | Impellar Alum 310M2 | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-009-001
139 | 2210000537 | Motor Mixing Alum 311M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-009-001
140 | 2210000538 | Impellar Alum 311M2 | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-009-001
141 | 2210000670 | Pump 801M1 Sludge Basin WTP Cidanau | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-012
142 | 2210000671 | Pump 802M1 Sludge Basin WTP Cidanau | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-012
158 | 2210000699 | Pompa 802M1 Transfer Lagoon Cidanau | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-013
159 | 2210000700 | Pompa 803M1 Transfer Lagoon Cidanau | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-013
160 | 2210000701 | Pompa 804M1 Transfer Lagoon Cidanau | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-013
161 | 2210000702 | Engine Genset 1250 kVA WTP Cidanau | P-22L006 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-03-011
162 | 2210000710 | Kanal Kabel WTP Cidanau | P-22L006 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-03-016
163 | 2210002857 | Sensor Alum WCD 1 | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-009-001
164 | 2210002863 | Sensor Level Bak Alum WCD | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-009-001
165 | 2210002968 | Flowmeter Jalur PS I - WTP Cidanau | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-001
166 | 2210003273 | Level Sensor Tangki Chlorine | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-009-001
167 | 2210003575 | Aktuator Floc 400M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-003 |  | TOBERO | NTE-10A |  | 2025
168 | 2210003576 | Aktuator Floc 401M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-003 |  | TOBERO | NTE-10A |  | 2025
169 | 2210003577 | Aktuator Floc 402M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-003 |  | TOBERO | NTE-10A |  | 2025
170 | 2210003578 | Aktuator Floc 403M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-003 |  | TOBERO | NTE-10A |  | 2025
171 | 2210003579 | Aktuator Floc 404M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-003 |  | TOBERO | NTE-10A |  | 2025
172 | 2210003580 | Aktuator Floc 405M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-003 |  | TOBERO | NTE-10A |  | 2025
173 | 2210003581 | Aktuator Sediment 504M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-004-001 |  | TOBERO | NTE-10A |  | 2025
174 | 2210003582 | Aktuator Sediment 505M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-004-001 |  | TOBERO | NTE-10A |  | 2025
175 | 2210003583 | Aktuator Sediment 506M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-004-001 |  | TOBERO | NTE-10A |  | 2025
176 | 2210003584 | Aktuator Sediment 507M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-004-002 |  | TOBERO | NTE-10A |  | 2025
177 | 2210003585 | Aktuator Sediment 508M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-004-002 |  | TOBERO | NTE-10A |  | 2025
178 | 2210003586 | Aktuator Sediment 509M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-004-002 |  | TOBERO | NTE-10A |  | 2025
179 | 2210003587 | Aktuator Sediment 510M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-004-003 |  | TOBERO | NTE-10A |  | 2025
180 | 2210003588 | Aktuator Sediment 511M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-004-003 |  | TOBERO | NTE-10A |  | 2025
181 | 2210003589 | Aktuator Sediment 512M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-004-003 |  | TOBERO | NTE-10A |  | 2025
182 | 2210003590 | Aktuator Sediment 513M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-004-004 |  | TOBERO | NTE-10A |  | 2025
183 | 2210003591 | Aktuator Sediment 514M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-004-004 |  | TOBERO | NTE-10A |  | 2025
184 | 2210003592 | Aktuator Sediment 515M1 | P-22L006 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-03-004-004 |  | TOBERO | NTE-10A |  | 2025
Plant : PS VII Cipasauran
No | Equipment Code | Desription Of Tech.Object | Plant Code | Plant Section | ABC Indicator | Cost Center | Planning Plant | Planner Group | Maint.Work Center | Func.Location | Ser.Number | Manufacturer | Model Number | Man.Part No | Constr.Year
1 | 2210000606 | Flowmeter Air Baku CPS (FL 08) | I-22L004 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-004 | S5S707304-628 | YOKOGAWA- ADMAG | AXFA11G |  | 2016
2 | 2210000569 | Panel DCS CPS | I-22L004 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-003-001 | C2SG0222OC | YOKOGAWA CENTUM VP | ANB10D |  | 2016
3 | 2210000581 | Panel MV-VSD 1000 CPS | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-003-009 | NS61006-00100 | YASKAWA |  | CIMR-MV2AF5FB070E1AB | 2016
4 | 2210000597 | Transformator MV CPS | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-003-003 | 161314787 | TRAFINDO | Dry Transformer |  | 2018
5 | 2210000608 | Pompa Transfer Hypo CPS | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-003-007 |  | TACMINA | ZD1-34-VTCF-FWX |  | 2016
6 | 2210000467 | Genset Cipasauran | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-003-004 | TP165T16010510 | Perkin | TP165T |  | 2016
7 | 2210000243 | Crane PS VII (C11) | I-22L004 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-004 |  | MHE | MHE DEMAG | 670-A01-1696-1016
8 | 2210000457 | Pompa Intake Cipasauran 1M1 | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-004 |  | KSB | AMAREX KRT 350-710K | H7706UNG-K
9 | 2210000458 | Pompa Intake Cipasauran 2M1 | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-004 |  | KSB | AMAREX KRT 350-710K | H7706UNG-K
10 | 2210000459 | Pompa Intake Cipasauran 3M1 | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-004 |  | KSB | AMAREX KRT 350-710K | H7706UNG-K
11 | 2210000562 | Motor Actuator Gate 100M1 | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-001-002 |  | AUMA | AD00090-2-3.30 | 4516MM20029 | 2018
12 | 2210000564 | Motor Actuator Gate 101M1 | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-001-002 |  | AUMA | AD00090-2-3.30 | 4516MM20029 | 2018
13 | 2210000465 | Pompa Distribusi WTP Mini Cipasauran | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-006-002
14 | 2210000467 | Genset Cipasauran | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-003-004 |  |  | TP165T | TP165T16010510 | 2016
15 | 2210000559 | Sensor Level Mercu CPS | I-22L004 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-001
16 | 2210000562 | Motor Actuator Gate 100M1 | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-001-002 | 4516MM20029 |  | AD00090-2-3.30 |  | 2018
17 | 2210000564 | Motor Actuator Gate 101M1 | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-001-002 | 4516MM20029 |  | AD00090-2-3.30 |  | 2018
18 | 2210000566 | Flowmeter Ultrasonic CPS | I-22L004 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-002-001
19 | 2210000598 | Transformator LV CPS | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-003-003
20 | 2210000606 | Flowmeter Air Baku CPS (FL 08) | I-22L004 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-004 |  |  | AXFA11G | S5S707304-628 | 2016
21 | 2210000607 | Motor Transfer Hypo CPS | I-22L004 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-003-007
22 | 2210000608 | Pompa Transfer Hypo CPS | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-003-007 |  |  | ZD1-34-VTCF-FWX |  | 2016
23 | 2210000603 | Sensor Level Sump Pump | I-22L004 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-005
24 | 2210000613 | Turbidity Analyzer CPS | I-22L004 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-006-002
25 | 2210000614 | pH Analyzer CPS | I-22L004 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-006-002
Plant : PS V SEPS
No | Equipment Code | Desription Of Tech.Object | Plant Code | Plant Section | ABC Indicator | Cost Center | Planning Plant | Planner Group | Maint.Work Center | Func.Location | Ser.Number | Manufacturer | Model Number | Man.Part No | Constr.Year
1 | 2210000659 | Motor SEPS 3M1 | D-22L010 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-02-002-003 |  | Siemens | 1 LG 4 253 4AA 902-
2 | 2210000660 | Motor SEPS 4M1 | D-22L010 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-02-002-003 |  | Siemens | 1 LG 4 253 4AA 902-
3 | 2210000661 | Motor SEPS 5M1 | D-22L010 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-02-002-003 |  | Siemens | 1 LG 4 253 4AA 902-
4 | 2210000654 | Panel Trafo 1 SEPS | D-22L010 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-02-002-002 | CI214339966 | Schneider | MasterPact NW 10H1 |  | 2021
5 | 2210000655 | Panel Trafo 2 SEPS | D-22L010 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-02-002-002 | CI214339965 | Schneider | MasterPact NW 10H1 |  | 2021
6 | 2210000425 | Pompa SEPS 3M1 | D-22L010 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-02-002-003 |  | KSB Germany | OMEGA 150-360A
7 | 2210000426 | Pompa SEPS 4M1 | D-22L010 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-02-002-003 |  | KSB Germany | OMEGA 150-360A
8 | 2210000427 | Pompa SEPS 5M1 | D-22L010 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-02-002-003 |  | KSB Germany | OMEGA 150-360A
9 | 2210000658 | Motor SEPS 2M1 | D-22L010 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-02-002-003 |  | ex Rusia | AO 102 GT
10 | 2210002908 | Panel VSD Pompa SEPS 2M1 | D-22L010 | SE1 | B | 222300 | KTI1 | 222 |  | A-A2-02-002-002
11 | 2210000433 | Engine Genset SEPS 250 kVA | D-22L010 | SE1 | A | 222300 | KTI1 | 221 |  | A-A2-02-003-001
12 | 2210002868 | Transformator SEPS 1 | D-22L010 | SE1 | A | 222300 | KTI1 | 222 |  | A-A2-02-002-002
13 | 2210002869 | Transformator SEPS 2 | D-22L010 | SE1 | A | 222300 | KTI1 | 222 |  | A-A2-02-002-002
Plant : PS II Waduk
No | Equipment Code | Desription Of Tech.Object | Plant Code | Plant Section | ABC Indicator | Cost Center | Planning Plant | Planner Group | Maint.Work Center | Func.Location | Ser.Number | Manufacturer | Model Number | Man.Part No | Constr.Year
1 | 2210000541 | Crane PS II (C4) | I-22L003 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-03-002 | 818750318 | KULI Helmut Kempkes | KULI (6,3T/1975)
2 | 2210000542 | Motor Waduk 1M1 | I-22L003 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-03-002 |  | Siemens | 1 LA 4 314 - 6
3 | 2210000543 | Motor Waduk 2M1 | I-22L003 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-03-002 |  | Siemens | 1 LA 4 314 - 6
4 | 2210000544 | Motor Waduk 3M1 | I-22L003 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-03-002 |  | Siemens | 1 LA 4 314 - 6
5 | 2210000545 | Motor Waduk 4M1 | I-22L003 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-03-002 |  | Siemens | 1 LA 4 314 - 6
6 | 2210000546 | Motor Waduk 5M1 | I-22L003 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-03-002 |  | Siemens | 1 LA 4 314 - 6
7 | 2210000408 | Pompa Waduk 1M1 | I-22L003 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-03-002 |  | KSB Germany | SNZ 500-400
8 | 2210000409 | Pompa Waduk 2M1 | I-22L003 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-03-002 |  | KSB Germany | SNZ 500-400
9 | 2210000410 | Pompa Waduk 3M1 | I-22L003 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-03-002 |  | KSB Germany | SNZ 500-400
10 | 2210000411 | Pompa Waduk 4M1 | I-22L003 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-03-002 |  | KSB Germany | SNZ 500-400
11 | 2210000412 | Pompa Waduk 5M1 | I-22L003 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-03-002 |  | KSB Germany | SNZ 500-400
12 | 2210000552 | Flowmeter Air Baku Waduk (FL 06) | I-22L003 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A1-03-002
13 | 2210000553 | Flowmeter Overflow Waduk (FL 10) | I-22L003 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A1-03-003-003
14 | 2210000548 | Motor Grease 2M2 | I-22L003 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-03-002
15 | 2210000550 | Motor Grease 4M2 | I-22L003 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-03-002
16 | 2210000554 | Motor Gate 6M1 | I-22L003 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-03-003-001
17 | 2210000555 | Motor Gate 7M1 | I-22L003 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-03-003-001
18 | 2210000558 | Panel Katodik Waduk | I-22L003 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-03-003-001
19 | 2210000125 | Panel VSD 5M1 | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-004 | N21635000021 | Schneider | ATV630C13N4-110kW
20 | 2210003075 | Panel VSD 4M1 | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-004 |  | Schneider | ATV630C13N4
21 | 2210002872 | Panel VSD 3M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-004 | 4005800N2/193500300 | Schneider | ATV630C13N4-110kW |  | 2021
22 | 2210003468 | Panel VSD 2M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-014 |  | Schneider | ATV630C13N4 |  | 2024
23 | 2210003314 | Panel VSD 1M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-004 |  | Schneider Elektrik | ATV630C13N4
Plant : WTP Krenceng
No | Equipment Code | Desription Of Tech.Object | Plant Code | Plant Section | ABC Indicator | Cost Center | Planning Plant | Planner Group | Maint.Work Center | Func.Location | Ser.Number | Manufacturer | Model Number | Man.Part No | Constr.Year
1 | 2210000072 | Sensor pH ACC I | P-22L007 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A2-01-005-001 |  | Xylem WTW | Sensolyt 700
2 | 2210000074 | Sensor Turbid ACC I | P-22L007 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A2-01-005-001 |  | Xylem WTW | VisoTurb 700
3 | 2210000077 | Sensor pH ACC II | P-22L007 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A2-01-005-002 |  | Xylem WTW | Sensolyt 700
4 | 2210000082 | Sensor pH ACC III | P-22L007 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-01-005-003 |  | Xylem WTW | Sensolyt 700
5 | 2210000084 | Sensor Turbid ACC III | P-22L007 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A2-01-005-003 |  | Xylem WTW | VisoTurb 700
6 | 2210002890 | Sensor pH Reservoir | P-22L007 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A2-01-008-002 |  | Xylem WTW | Sensolyt 700
7 | 2210000240 | Crane PS IV (C9) | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-007-001 |  | WIRA | NH-Hoist (5T)
8 | 2210000063 | Sensor Level Bak Alum 27 | P-22L007 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-01-003-003 |  | Vega | Vegawell 52 (4m) |  |  | Rusak
9 | 2210000064 | Sensor Level Bak Alum 28 | P-22L007 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-01-003-003 |  | Vega | Vegawell 52 (4m) |  |  | Rusak
10 | 2210000065 | Sensor Level Bak Kapur 39 | P-22L007 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-01-003-004 |  | Vega | Vegawell 52 (4m) |  |  | Rusak
11 | 2210000066 | Sensor Level Bak Kapur 40 | P-22L007 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A2-01-003-004 |  | Vega | Vegawell 52 (4m) |  |  | Rusak
12 | 2210000261 | Sensor Level Reservoir PS VI | P-22L007 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A2-01-008-002 |  | Vega | Vegawell 52 (8m)
13 | 2210000241 | Crane PS VI (C10) | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-008-001 |  | Stahlindo | Street-SG (5T)
14 | 2210000008 | Motor Alum Sulfat 33M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-001 | E93469 & 90007 | Siemens | 1 LA 3106-4AA 41Z
15 | 2210000006 | Motor Alum Sulfat 32M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-001 | E93469 & 90006 | Siemens | 1 LA 3106-4AA 41Z
16 | 2210000004 | Motor Alum Sulfat 31M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-001 | E93469 & 90005 | Siemens | 1 LA 3106-4AA 41Z
17 | 2210000002 | Motor Alum Sulfat 30M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-001 | E93469 & 90003 | Siemens | KMER 80 G2
18 | 2210000000 | Motor Alum Sulfat 29M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-001 | E93469 & 90001 | Siemens | 1 LA 3106-4AA 41Z
19 | 2210000280 | Motor 44M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-006-001 | 4340740312 | Siemens | 1RA6313-4AD00-Z
20 | 2210000391 | Motor 74M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-008-001 | 1508/163869901 | Siemens | 1LG6318-4MA94-Z
21 | 2210000392 | Motor 75M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-008-001 | 1508/163869901 | Siemens | 1LG6318-4MA94-Z
22 | 2210000284 | Motor 46M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-006-001 |  | Siemens | 1 RA.6 250 GAE OOZ
23 | 2210000286 | Motor 47M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-006-001 |  | Siemens | 1LE1503-2CC69-0AH5-Z
24 | 2210000387 | Motor 70M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-008-001 |  | Siemens | 1PM4-314-4AA94
25 | 2210000282 | Motor 45M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-006-001 | 50026401/1 | SCHORCH | KN7315N-8801B-Z
26 | 2210000097 | Panel VSD 74M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-004 | N215040-50344 | Schneider | Altivar 71 - 250kW
27 | 2210000094 | Panel VSD 64M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-004 | 881742510018 | Schneider | Altivar 630C22N4
28 | 2210000096 | Panel VSD 70M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-004 | 881242601001 | Schneider | Altivar61-250HP
29 | 2210000098 | Panel VSD 61M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-004 | 881142966003 | Schneider | Altivar61-250HP
30 | 2210000099 | Panel VSD 60M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-004 | 405260088/200198007 | Schneider | ATV630C22N4
31 | 2210000095 | Panel VSD 72M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-004 | 405260088/192467014 | Schneider | ATV630C22N4
32 | 2210000103 | Panel Softstart 75M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-004 | 2114531759 | Schneider | ATS48C48Y-250kW
33 | 2210000104 | Panel Softstart 73M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-004 | 2114512168 | Schneider | ATS48C41Y |  |  | Upgrade VSD
34 | 2210000105 | Panel Softstart 71M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-004 | 2114512168 | Schneider | ATS48C41Y |  |  | Upgrade VSD
35 | 2210002891 | Panel SoftStart 43M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-006-001 |  | Schneider | ATS48C48Y-250kW
36 | 2210003089 | Panel VSD 73M1 | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-004 |  | Schneider
37 | 2210000231 | GenSet 2250 kVA | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-012 | 527113137 | mtu gmbH | 16V4000G63
38 | 2210000236 | Crane Workshop (C5) | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-013-003 | HMX06430 | Mitsubishi | S5LM3 (5T)
39 | 2210000278 | Motor 43M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-006-001 | 2020001 | MEZ FRENSTAT | 3AFP315-M
40 | 2210000040 | Crane C3 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-006 |  | KULI Helmut Kempkes | KULI (2,5 T/1985)
41 | 2210000041 | Crane C6 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-006 |  | KULI Helmut Kempkes | KULI (2,5 T/1985)
42 | 2210000235 | Crane Gudang Logistik (C4) | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-001-002 |  | KULI Helmut Kempkes | KULI (5 T/1975)
43 | 2210000242 | Crane PS III (C8) | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-006-001 |  | KULI Helmut Kempkes | KULI (3,5T/1975)
44 | 2210000279 | Pompa 43 M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-006-001 |  | KSB Germany | RDL 250-400 A
45 | 2210000281 | Pompa 44 M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-006-001 |  | KSB Germany | RDL 250-400 A
46 | 2210000283 | Pompa 45 M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-006-001 |  | KSB Germany | RDL 250-400 A
47 | 2210000285 | Pompa 46 M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-006-001 |  | KSB Germany | SPY 350-370B
48 | 2210000287 | Pompa 47 M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-006-001 |  | KSB Germany | SPY 350-370B
49 | 2210000397 | Pompa 74M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-008-001 | 049-1506159-001 | KSB (Audoli Bertolla) | VAB30273
50 | 2210000398 | Pompa 75M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-008-001 | 049-1506159-001 | KSB | VAB30273
51 | 2210000237 | Crane Distribusi (C7) | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-013-004 |  | KITO | 34/KITO/01 (3T) |  | 2012
52 | 2210000378 | Pompa 61M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-007-001 | TS-27438 | JOHNSTON | 18 DC - 3 stage
53 | 2210000377 | Pompa 60M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-007-001 |  | JOHNSTON | 18 DC - 3 stage
54 | 2210000379 | Pompa 62M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-007-001 |  | JOHNSTON | 18 DC - 3 stage
55 | 2210000380 | Pompa 63M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-007-001 |  | JOHNSTON | 18 DC - 3 stage
56 | 2210000376 | Motor 64M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-007-001 | ZTG6846 | GE | 1L449TP20
57 | 2210000388 | Motor 71M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-008-001 | KKFT300U028 | GE | 5KS449SAE6050
58 | 2210000390 | Motor 73M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-008-001 | KKFT300U011 | GE | 5KS449SAE6050
59 | 2210000373 | Motor 61M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-007-001 | JVJ922016 | GE | 5K6319XJ89A
60 | 2210000389 | Motor 72M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-008-001 | APFT006U020 | GE | 5KS449SAJ6048
61 | 2210000372 | Motor 60M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-007-001 |  | GE | 5K6319XJ89A
62 | 2210000374 | Motor 62M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-007-001 |  | GE | 5K6319XJ89A
63 | 2210000375 | Motor 63M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-007-001 |  | GE | 5K6319XJ89A
64 | 2210000393 | Pompa 70M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-008-001 | 72257-1-2 | FLOWAY | 18 MKM VTP - 3 stage
65 | 2210000394 | Pompa 71M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-008-001 | 72257-1-2 | FLOWAY | 18 MKM VTP - 3 stage
66 | 2210000395 | Pompa 72M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-008-001 | 72257-1-2 | FLOWAY | 18 MKM VTP - 3 stage
67 | 2210000396 | Pompa 73M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-008-001 | 72257-1-2 | FLOWAY | 18 MKM VTP - 3 stage
68 | 2210000381 | Pompa 64M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-007-001 |  | FLOWAY | 18 MKM - 3 stage
69 | 2210000024 | Motor Vakum 41M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-001 | 170429-018-066 | CMG | MART-112M-4 | M34001503
70 | 2210000011 | Motor Shock Chlorine 503M1 | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-001 | 6503 455; 6546 842 | ASEA | MBL 112 M 28 F130-2
71 | 2210000013 | Motor Shock Chlorine 503M2 | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-001 | 6503 455; 6546 842 | ASEA | MBL 112 M 28 F130-2
72 | 2210000015 | Motor Continous Chlorine 503M3 | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-001 | 6503 455; 6546 842 | ASEA | MBL 112 M 28 F130-2
73 | 2210000017 | Motor Continous Chlorine 503M4 | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-001 | 6503 455; 6546 842 | ASEA | MBL 112 M 28 F130-2
74 | 2210000021 | Motor Kapur 38M1 | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-001 | ZS 956007/2 | AEG | CAM 132 - SZ 2 E x Y
75 | 2210000019 | Motor Kapur 37M1 | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-001 | ZS 956007/1 | AEG | CAM 132 - SZ 2 E x Y
76 | 2210000100 | Panel Softstart 63M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-004 |  | ABB | SFA88111-QRH370
77 | 2210000101 | Panel Softstart 62M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-004 |  | ABB | SFA88111-QRH370
78 | 2210000001 | Pompa Alum Sulfat 29M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-003-001
79 | 2210000003 | Pompa Alum Sulfat 30M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-003-001
80 | 2210000005 | Pompa Alum Sulfat 31M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-003-001
81 | 2210000007 | Pompa Alum Sulfat 32M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-003-001
82 | 2210000009 | Pompa Alum Sulfat 33M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-003-001
83 | 2210000012 | Pompa Shock Chlorine 503M1 | P-22L007 | SE1 | A | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-003-001
84 | 2210000014 | Pompa Shock Chlorine 503P2 | P-22L007 | SE1 | A | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-003-001
85 | 2210000016 | Pompa Continous Chlorine 503P3 | P-22L007 | SE1 | A | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-003-001
86 | 2210000018 | Pompa Continous Chlorine 503P4 | P-22L007 | SE1 | A | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-003-001
87 | 2210000019 | Motor Kapur 37M1 | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-001 | ZS 956007/1 | AEG | CAM 132 - SZ 2 E x Y
88 | 2210000020 | Pompa Kapur 37M1 | P-22L007 | SE1 | A | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-003-001
89 | 2210000021 | Motor Kapur 38M1 | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-001 | ZS 956007/2 | AEG | CAM 132 - SZ 2 E x Y
90 | 2210000022 | Pompa Kapur 38M1 | P-22L007 | SE1 | A | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-003-001
91 | 2210000025 | Pompa Vakum 41M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-003-001
92 | 2210000026 | Motor Vakum 42M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-001
93 | 2210000027 | Pompa Vakum 42M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-003-001
94 | 2210000047 | Motor Bak Alum 27M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-003
95 | 2210000048 | Motor Bak Alum 28M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-003
96 | 2210000049 | Motor Bak Kapur 39M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-004
97 | 2210000050 | Motor Bak Kapur 40M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-003-004
98 | 2210000051 | Gear Box Bak Alum 27 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-003-003
99 | 2210000052 | Gear Box Bak Alum 28 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-003-003
100 | 2210000053 | Gear Box Bak Kapur 39 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-003-004
101 | 2210000054 | Gear Box Bak Kapur 40 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-003-004
102 | 2210000228 | GenSet 940 kVA | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-011
103 | 2210000231 | GenSet 2250 kVA | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-012 | 527113137 | mtu gmbH | 16V4000G63
104 | 2210000235 | Crane Gudang Logistik (C4) | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-001-002 |  | KULI Helmut Kempkes | KULI (5 T/1975)
105 | 2210000236 | Crane Workshop (C5) | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-013-003 | HMX06430 | Mitsubishi | S5LM3 (5T)
106 | 2210000237 | Crane Distribusi (C7) | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-013-004 |  | KITO | 34/KITO/01 (3T) |  | 2012
107 | 2210000240 | Crane PS IV (C9) | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-007-001 |  | WIRA | NH-Hoist (5T)
108 | 2210000241 | Crane PS VI (C10) | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-008-001 |  | Stahlindo | Street-SG (5T)
109 | 2210000242 | Crane PS III (C8) | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-006-001 |  | KULI Helmut Kempkes | KULI (3,5T/1975)
110 | 2210003250 | Pompa Vakum 42M2 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-003-001
111 | 2210003251 | Pompa Vakum 41M2 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-003-001
112 | 2210003283 | Pompa Recycle 68M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-009-004 |  | EBARA PUMP | 150 DL522 | 180992-01
113 | 2210003284 | VSD Pompa submersible 65M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-009-004 |  | Altivar 630-Schneider | ATV630D22N4
114 | 2210003285 | VSD Pompa submersible 66M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-009-004 |  | Altivar 630-Schneider | ATV630D55N4
115 | 2210003286 | VSD Pompa submersible 67M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-009-004 |  | Altivar 630-Schneider | ATV630D22N4
116 | 2210003287 | VSD Pompa submersible 68M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-009-004 |  | Altivar 630-Schneider | ATV630D55N4
117 | 2210002845 | Pompa Recycle 65M2 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-009-004
118 | 2210002846 | Pompa Recycle 66M2 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-009-004
119 | 2210002847 | Pompa Recycle 67M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-009-004
120 | 2210002848 | Transformator KR 1 | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-006
121 | 2210002849 | Transformator KR 2 | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-007
122 | 2210002850 | Transformator KR 3 | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-008
123 | 2210002851 | Transformator KR 4 | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-009
124 | 2210003089 | Panel VSD 73M1 | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-004 |  | Schneider
125 | 2210000709 | Panel VSD Recycle Backwash | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-009-004
126 | 2210000264 | Panel VSD 44/45M1 | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-006-001 |  | Schneider | ATV630C22N4
127 | 2210000265 | Panel VSD 46/47M1 | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-006-001 |  | Schneider | ATV630D55N4
128 | 2210000719 | SCADA WTP Krenceng | P-22L007 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A2-01-002-001
129 | 2210003476 | Motor 65M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-007 | 2403/354699502 | SIEMENS | 1CV3316B | 1LE56333AB634GB3-Z UC | 2024
130 | 2210003477 | Motor 66M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-007 | 2403/354699501 | SIEMENS | 1CV3316B | 1LE56333AB634GB3-Z UC | 2024
131 | 2210003469 | Pompa 65M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-007 | 049-P2308138-002 | KSB | VAB 302/3 |  | 2024
132 | 2210003470 | Pompa 66M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-007 | 049-P2308138-001 | KSB | VAB 302/3 |  | 2024
133 | 2210003471 | Panel VSD 66M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-014 | 40061M088232939003 | Schneider | ATV630C25N4 |  | 2024
134 | 2210003472 | Panel VSD 65M1 | P-22L007 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-014 | 40061M088232941025 | Schneider | ATV630C25N4 |  | 2024
135 | 2210003473 | Panel Capasitor Bank Trafo I | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-014 |  |  | 375 KVAR |  | 2024 | Retrofit
136 | 2210003474 | Panel Capasitor Bank Trafo II | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-014 |  |  | 375 KVAR |  | 2024 | Retrofit
137 | 2210003475 | Panel Capasitor Bank Trafo III | P-22L007 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-002-014 |  |  | 375 KVAR |  | 2024 | Retrofit
Plant : DECANTER
No | Equipment Code | Desription Of Tech.Object | Plant Code | Plant Section | Cost Center | ABC Indicator | Planning Plant | Planner Group | Maint.Work Center | Func.Location | Ser.Number | Manufacturer | Model Number | Man.Part No | Constr.Year
1 | 2210003024 | Panel Pompa Polymer Thickner | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001
2 | 2210003025 | Pompa Polymer Thickner 1M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-001 | NETZSCH | NM031BY01L06B | D8438250/7300013546/0100 |  | 2019
3 | 2210003026 | Pompa Polymer Thickner 2M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-001 | NETZSCH | NM031BY01L06B | D8438248/7300013546/0100 |  | 2019
4 | 2210003027 | Pompa Polymer Decanter 1M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-001 | NETZSCH | NM031BY01L06B | D8438251/7300013546/0100
5 | 2210003028 | Pompa Polymer Decanter 2M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-001 | NETZSCH | NM031BY01L06B | D8438249/7300013546/0100
6 | 2210003029 | Motor Polymer Thickner 1M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001 | NORD | 90LH/4TF | 34511190/31212940
7 | 2210003030 | Motor Polymer Decanter 1M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001 | NORD | 90LH/4 TF | 34511190/31240061 |  | 2019
8 | 2210003031 | Panel Pompa Polymer Decanter | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001
9 | 2210003032 | Panel VSD Decanter 1 | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001 | HAUS DDE 4742 | N19100078 | ELP 01670 |  | 2020
10 | 2210003033 | Panel VSD Decanter 2 | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001 | HAUS DDE 4742 | N19100076 | ELP 01672 |  | 2020
11 | 2210003034 | Panel VSD Decanter 3 | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001 | HAUS DDE 4742 | N19100077 | ELP 01673 |  | 2020
12 | 2210003035 | Panel Incoming | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001
13 | 2210003036 | Pompa Ekualisasi No.1 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-004 | EBARAPUMP | 100.DLB55.5 |  | P152634-01 | 2014
14 | 2210003037 | Pompa Ekualisasi No.2 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-004 | EBARAPUMP | 100.DLB55.5 |  | P152634 | 2014
15 | 2210003038 | Pompa Ekualisasi No.3 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-004 | EBARAPUMP | 100.DLB55.5 |  | P152634 | 2014
16 | 2210003039 | Motor Scrapper Thickner 1 | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-002 | TRANSCYKO | TS 100-4 B5 |  | 20201545
17 | 2210003040 | Motor Scrapper Thickner 2 | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-003 | TRANSCYKO | TS 100-4 B5 |  | 20201545
18 | 2210003041 | Pompa Transfer Sludge 1 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-001 | NETZSCH | NM031BY01L06B | C224240/8020066238/0010 |  | 2023
19 | 2210003042 | Pompa Transfer Sludge 2 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-001 | NETZSCH | NM053BY01P05B.1 | D8438253/7300013546/0200 |  | 2019
20 | 2210003043 | Pompa Transfer Sludge 3 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-001 | NETZSCH | NM053DY01L06B.0 | T9000624/10000108/0010-70M7756 |  | 2023
21 | 2210003044 | Gearbox scrapper Thickner 1 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-002 | TRANSCYKO | TDVX 4-619/11 | 200170801-T
22 | 2210003045 | Gearbox scrapper Thickner 2 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-003 | TRANSCYKO | TDVX 4-619/11 | 20070907-T
23 | 2210003046 | Decanter No.1 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-001 | HAUS | DDE 4742 | DEK00996 |  | 2013
24 | 2210003047 | Decanter No.2 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-001 | HAUS | DDE 4742 | DEK00997 |  | 2013
25 | 2210003048 | Decanter No.3 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-001 | HAUS | DDE 4742 | DEK00998 |  | 2013
26 | 2210003279 | Gearbox Mixing polymer thickener 1M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-001 | YILMAZ REDUKTOR | DR172.03-100L/2C | 190202900
27 | 2210003280 | Gearbox Mixing polymer thickener 2M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-001 | YILMAZ REDUKTOR | EN050.00.B08 | 190191361
28 | 2210003319 | GearBox Motor Konveyor Decanter 2 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-001 | YILMAZ REDUCTOR | NR272 100LAB | 190227437
29 | 2210003320 | GearBox Motor Konveyor Decanter 3 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-001 | YILMAZ REDUCTOR | NR272 100LAB | 190227435
30 | 2210003321 | Motor Konveyor Decanter 2 | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001 | YILMAZ REDUCTOR | 2EL100L4B | 190209814
31 | 2210003322 | Motor Konveyor Decanter 3 | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001 | YILMAZ REDUCTOR | 2EL100L4B | 190209816
32 | 2210003414 | Motor Polymer Thicnker 2M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001 | BELK | 90LH/4 TF | 34511190/31240063 |  | 2019
33 | 2210003415 | Motor Polymer Decanter 2M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001 | NORD | 90LH/4 TF | 34511190/312400062 |  | 2019
34 | 2210003416 | Motor Screw Polymer Decanter | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001 | BELK | 2EL080M4B | 180241662
35 | 2210003417 | Motor Mixing Polymer Decanter 1M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001 | YILMAZ REDUCTOR | 2EL 100L2B | 190187021 |  | 2019
36 | 2210003418 | Motor Mixing Polymer Decanter 2M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001 | BELK | 2EL080M4B | 180241638
37 | 2210003419 | Motor Mixing Polymer Decanter 3M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001 | BELK | 2EL080M4B | 180241638
38 | 2210003420 | Motor Screw Polymer Thickner | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001 | BELK | 2EL080M4B | 180241645
39 | 2210003421 | Motor Mixing Polymer Thickner 1M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001 | YILMAZ REDUKTOR | 2EL 100L2B | 190187022 |  | 2019
40 | 2210003422 | Motor Mixing Polymer Thickner 2M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 223 | S1-N01 | A-A2-01-010-001 | BELK | 2EL080M4B | 180241641
41 | 2210003423 | Motor Mixing Polymer Thickner 3M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001 | BELK | 2EL080M4B | 180241640
42 | 2210003426 | Gearbox Mixing polymer thickener 3M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-001 | YILMAZ REDUKTOR | EN050.00.B08 | 190197987
43 | 2210003427 | Gearbox Mixing Polymer Decanter 1M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-001 | YILMAZ REDUKTOR | DR172.03-100L/2C | 190202899
44 | 2210003428 | Gearbox Mixing Polymer Decanter 2M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-001 | YILMAZ REDUKTOR | EN050.00.B08 | 190191319
45 | 2210003429 | Gearbox Mixing Polymer Decanter 3M1 | I-22L002 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A2-01-010-001 | YILMAZ REDUKTOR | EN050.00.B08 | 190198068
46 | 2210003435 | Motor Transfer Sludge Decanter 1 | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001 | NORD | 132MP/4 TF | 203714316-4300/54716694 |  | 2023
47 | 2210003436 | Motor Transfer Sludge Decanter 2 | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001 | NORD | 132SH/4 TF | 36313091/31078785 |  | 2019
48 | 2210003437 | Motor Transfer Sludge Decanter 3 | I-22L002 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A2-01-010-001 | NORD | 132SP/4 TF | 36313084/54928219 |  | 2022
Plant : PS VII Cipasauran
No | Equipment Code | Desription Of Tech.Object | Plant Code | Plant Section | ABC Indicator | Cost Center | Planning Plant | Planner Group | Maint.Work Center | Func.Location | Ser.Number | Manufacturer | Model Number | Man.Part No | Constr.Year
1 | 2210000606 | Flowmeter Air Baku CPS (FL 08) | I-22L004 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-004 | S5S707304-628 | YOKOGAWA- ADMAG | AXFA11G |  | 2016
2 | 2210000569 | Panel DCS CPS | I-22L004 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-003-001 | C2SG0222OC | YOKOGAWA CENTUM VP | ANB10D |  | 2016
3 | 2210000581 | Panel MV-VSD 1000 CPS | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-003-009 | NS61006-00100 | YASKAWA |  | CIMR-MV2AF5FB070E1AB | 2016
4 | 2210000597 | Transformator MV CPS | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-003-003 | 161314787 | TRAFINDO | Dry Transformer |  | 2018
5 | 2210000608 | Pompa Transfer Hypo CPS | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-003-007 |  | TACMINA | ZD1-34-VTCF-FWX |  | 2016
6 | 2210000467 | Genset Cipasauran | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-003-004 | TP165T16010510 | Perkin | TP165T |  | 2016
7 | 2210000243 | Crane PS VII (C11) | I-22L004 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-004 |  | MHE | MHE DEMAG | 670-A01-1696-1016
8 | 2210000457 | Pompa Intake Cipasauran 1M1 | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-004 |  | KSB | AMAREX KRT 350-710K | H7706UNG-K
9 | 2210000458 | Pompa Intake Cipasauran 2M1 | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-004 |  | KSB | AMAREX KRT 350-710K | H7706UNG-K
10 | 2210000459 | Pompa Intake Cipasauran 3M1 | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-004 |  | KSB | AMAREX KRT 350-710K | H7706UNG-K
11 | 2210000562 | Motor Actuator Gate 100M1 | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-001-002 |  | AUMA | AD00090-2-3.30 | 4516MM20029 | 2018
12 | 2210000564 | Motor Actuator Gate 101M1 | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-001-002 |  | AUMA | AD00090-2-3.30 | 4516MM20029 | 2018
13 | 2210000465 | Pompa Distribusi WTP Mini Cipasauran | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-006-002
14 | 2210000467 | Genset Cipasauran | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-003-004 |  |  | TP165T | TP165T16010510 | 2016
15 | 2210000559 | Sensor Level Mercu CPS | I-22L004 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-001
16 | 2210000562 | Motor Actuator Gate 100M1 | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-001-002 | 4516MM20029 |  | AD00090-2-3.30 |  | 2018
17 | 2210000564 | Motor Actuator Gate 101M1 | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-001-002 | 4516MM20029 |  | AD00090-2-3.30 |  | 2018
18 | 2210000566 | Flowmeter Ultrasonic CPS | I-22L004 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-002-001
19 | 2210000598 | Transformator LV CPS | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-003-003
20 | 2210000606 | Flowmeter Air Baku CPS (FL 08) | I-22L004 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-004 |  |  | AXFA11G | S5S707304-628 | 2016
21 | 2210000607 | Motor Transfer Hypo CPS | I-22L004 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-003-007
22 | 2210000608 | Pompa Transfer Hypo CPS | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-003-007 |  |  | ZD1-34-VTCF-FWX |  | 2016
23 | 2210000603 | Sensor Level Sump Pump | I-22L004 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-005
24 | 2210000613 | Turbidity Analyzer CPS | I-22L004 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-006-002
25 | 2210000614 | pH Analyzer CPS | I-22L004 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-006-002

## Sheet2
Plant : PS VII Cipasauran
No | Equipment Code | Desription Of Tech.Object | Plant Code | Plant Section | ABC Indicator | Cost Center | Planning Plant | Planner Group | Maint.Work Center | Func.Location | Ser.Number | Manufacturer | Model Number | Man.Part No | Constr.Year
1 | 2210000606 | Flowmeter Air Baku CPS (FL 08) | I-22L004 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-004 | S5S707304-628 | YOKOGAWA- ADMAG | AXFA11G |  | 2016
2 | 2210000569 | Panel DCS CPS | I-22L004 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-003-001 | C2SG0222OC | YOKOGAWA CENTUM VP | ANB10D |  | 2016
3 | 2210000581 | Panel MV-VSD 1000 CPS | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-003-009 | NS61006-00100 | YASKAWA |  | CIMR-MV2AF5FB070E1AB | 2016
4 | 2210000597 | Transformator MV CPS | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-003-003 | 161314787 | TRAFINDO | Dry Transformer |  | 2018
5 | 2210000608 | Pompa Transfer Hypo CPS | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-003-007 |  | TACMINA | ZD1-34-VTCF-FWX |  | 2016
6 | 2210000467 | Genset Cipasauran | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-003-004 | TP165T16010510 | Perkin | TP165T |  | 2016
7 | 2210000243 | Crane PS VII (C11) | I-22L004 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-004 |  | MHE | MHE DEMAG | 670-A01-1696-1016
8 | 2210000457 | Pompa Intake Cipasauran 1M1 | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-004 |  | KSB | AMAREX KRT 350-710K | H7706UNG-K
9 | 2210000458 | Pompa Intake Cipasauran 2M1 | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-004 |  | KSB | AMAREX KRT 350-710K | H7706UNG-K
10 | 2210000459 | Pompa Intake Cipasauran 3M1 | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-004 |  | KSB | AMAREX KRT 350-710K | H7706UNG-K
11 | 2210000562 | Motor Actuator Gate 100M1 | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-001-002 |  | AUMA | AD00090-2-3.30 | 4516MM20029 | 2018
12 | 2210000564 | Motor Actuator Gate 101M1 | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-001-002 |  | AUMA | AD00090-2-3.30 | 4516MM20029 | 2018
13 | 2210000465 | Pompa Distribusi WTP Mini Cipasauran | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-006-002
14 | 2210000467 | Genset Cipasauran | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-003-004 |  |  | TP165T | TP165T16010510 | 2016
15 | 2210000559 | Sensor Level Mercu CPS | I-22L004 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-001
16 | 2210000562 | Motor Actuator Gate 100M1 | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-001-002 | 4516MM20029 |  | AD00090-2-3.30 |  | 2018
17 | 2210000564 | Motor Actuator Gate 101M1 | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-001-002 | 4516MM20029 |  | AD00090-2-3.30 |  | 2018
18 | 2210000566 | Flowmeter Ultrasonic CPS | I-22L004 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-002-001
19 | 2210000598 | Transformator LV CPS | I-22L004 | SE1 | A | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-003-003
20 | 2210000606 | Flowmeter Air Baku CPS (FL 08) | I-22L004 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-004 |  |  | AXFA11G | S5S707304-628 | 2016
21 | 2210000607 | Motor Transfer Hypo CPS | I-22L004 | SE1 | B | 222300 | KTI1 | 222 | E1-N01 | A-A1-02-003-007
22 | 2210000608 | Pompa Transfer Hypo CPS | I-22L004 | SE1 | B | 222300 | KTI1 | 221 | M1-N01 | A-A1-02-003-007 |  |  | ZD1-34-VTCF-FWX |  | 2016
23 | 2210000603 | Sensor Level Sump Pump | I-22L004 | SE1 | A | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-005
24 | 2210000613 | Turbidity Analyzer CPS | I-22L004 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-006-002
25 | 2210000614 | pH Analyzer CPS | I-22L004 | SE1 | B | 222300 | KTI1 | 224 | O1-N01 | A-A1-02-006-002